## UVIFlashInventoryReportResults
ITEM | Description | Item Category | Special Price | Qty Available
101D-254M | GAUGE 2½"F X 1/4" LM, DRY, ACRYLIC LENS,STEEL/BR 0-1,000 PSI | 01-PRESSURE GAUGES | 1.538 | 462
101D-254N | GAUGE 2½"F X 1/4" LM, DRY, ACRYLIC LENS,STEEL/BR 0-1,500 PSI | 01-PRESSURE GAUGES | 1.538 | 457
102D-208E | 102D-208E | 01-PRESSURE GAUGES | 2.206 | 396
302L-254CBK-PF | 2.5IN SS/SS LF 1/4IN CBM 30 PSI/BAR/K PA - Profire Pressure gauge | 01-PRESSURE GAUGES | 11.36 | 299
101D-158H | 101D-158H | 01-PRESSURE GAUGES | 1.556 | 200
202L-204OSS-18/5S | 2IN SS/BR CR 1/4IN CBM 2K PSI18 X 5 MM SOCKET W/ SPEED SHORE LOGO | 01-PRESSURE GAUGES | 5.17 | 200
310L-254B-PF | 2.5IN SS/SS RR SG LF 1/4IN LM15 PSI | 01-PRESSURE GAUGES | 10.952 | 200
102D-208F | 102D-208F | 01-PRESSURE GAUGES | 2.206 | 192
101D-254O | GAUGE 2½"F X 1/4" LM, DRY, ACRYLIC LENS,STEEL/BR 0-2,000 PSI | 01-PRESSURE GAUGES | 2.26 | 162
601L-254P | GAUGE 2-1/2"F X 1/4" LM, LF, CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 0-3,000 PSI | 01-PRESSURE GAUGES | 15.6 | 144
102D-254H | GAUGE 2½"F X 1/4" CBM, DRY, ACRYLIC LENS,STEEL/BR 0-300 PSI | 01-PRESSURE GAUGES | 2.508 | 118
102D-254M | GAUGE 2½"F X 1/4" CBM, DRY, ACRYLIC LENS,STEEL/BR 0-1,000 PSI | 01-PRESSURE GAUGES | 2.512 | 118
601L-254D | GAUGE 2-1/2"F X 1/4" LM, LF,CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 0-60 PSI | 01-PRESSURE GAUGES | 15.6 | 113
102D-254K | GAUGE 2½"F X 1/4" CBM, DRY, ACRYLIC LENS,STEEL/BR 0-600 PSI | 01-PRESSURE GAUGES | 2.512 | 103
102D-208G | 2IN ST/BR CR D 1/8IN CBM 200 PSI, NO LOGO | 01-PRESSURE GAUGES | 2.206 | 100
MAR1-101D-254E | 2.5IN PRESSURE GAUGE ST/BR DRY 1/4IN LM 100 PSI W/MARQUEST LOGO | 01-PRESSURE GAUGES | 2.256 | 95
101D-254I | GAUGE 2½"F X 1/4" LM, DRY, ACRYLIC LENS,STEEL/BR 0-400 PSI | 01-PRESSURE GAUGES | 2.098 | 71
601L-254R | GAUGE 2-1/2"F X 1/4" LM, LF, CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 0-5,000 PSI | 01-PRESSURE GAUGES | 15.6 | 66
310D-254Q | GAUGE 2-1/2"F X 1/4" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-4000 PSI | 01-PRESSURE GAUGES | 10.856 | 52
310D-254L | 2.5IN SS/SS RR SG D 1/4IN LM 800 PSI NO LOGO | 01-PRESSURE GAUGES | 10.856 | 50
302D-254BBK | GAUGE 2-1/2"F X 1/4" CBM, DRY, CRIMPED, POLY LENS, SS/SS 0-15 PSI/BAR KPA | 01-PRESSURE GAUGES | 11.376 | 46
310D-254I | GAUGE 2-1/2"F X 1/4" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-400 PSI | 01-PRESSURE GAUGES | 10.856 | 44
310D-254O | GAUGE 2-1/2"F X 1/4" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-2000 PSI | 01-PRESSURE GAUGES | 10.856 | 41
310D-402B | GAUGE 4"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-15 PSI | 01-PRESSURE GAUGES | 27.162 | 41
102D-254I | GAUGE 2½"F X 1/4" CBM, DRY, ACRYLIC LENS,STEEL/BR 0-400 PSI | 01-PRESSURE GAUGES | 2.508 | 34
102D-254E | GAUGE 2½"F X 1/4" CBM, DRY, ACRYLIC LENS,STEEL/BR 0-100 PSI | 01-PRESSURE GAUGES | 2.508 | 33
601L-254CC | GAUGE 2½"F X 1/4" LM, LF, CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 30"/30 PSI HG VAC | 01-PRESSURE GAUGES | 15.6 | 31
210L-402B | GAUGE 4"F X 1/2"LM, LF, REMOVEABLE BEZEL, SAFETY LENS, SS/BR 0-15 PSI | 01-PRESSURE GAUGES | 20.4 | 30
310L-454C | GAUGE 30 PSI LF 4X1/2 BM SS 233.54 | 01-PRESSURE GAUGES | 21.696 | 30
202L-254LBK | GAUGE 2-1/2"F X 1/4" CBM, LF, CRIMPED, POLY LENS, SS/BR 0-800 PSI/BAR KPA | 01-PRESSURE GAUGES | 5.376 | 27
102D-208A | GAUGE 2"F X 1/8" CBM, DRY, ACRYLIC LENS,STEEL/BR 30"/0 PSI HG VAC | 01-PRESSURE GAUGES | 2.206 | 26
304L-254C | 2.5IN SS/SS LF 1/4IN BKFFPM 30 PSI | 01-PRESSURE GAUGES | 12.348 | 25
310L-454D | GAUGE 60 PSI LF 4X1/2 BM SS 233.54 | 01-PRESSURE GAUGES | 21.698 | 25
310D-402P | GAUGE 4"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-3000 PSI | 01-PRESSURE GAUGES | 27.162 | 24
202L-158G | GAUGE 1-1/2"F X 1/8" CBM, LF, CRIMPED, POLY LENS, SS/BR 0-200 PSI/BAR KPA | 01-PRESSURE GAUGES | 4.032 | 21
210L-402CB | GAUGE 4"F X 1/2"LM, LF, REMOVEABLE BEZEL, SAFETY LENS, SS/BR 30"/15 PSI HG VAC | 01-PRESSURE GAUGES | 20.4 | 17
310D-402A | GAUGE 4"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 30"/0 PSI HG VAC | 01-PRESSURE GAUGES | 27.162 | 17
601L-254A | GAUGE 2-1/2"F X 1/4" LM, LF, CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 30/0 PSI HG VAC | 01-PRESSURE GAUGES | 15.6 | 17
101D-254A | GAUGE 2½"F X 1/4" LM, DRY, ACRYLIC LENS,STEEL/BR 30/0" PSI HG VAC | 01-PRESSURE GAUGES | 1.628 | 16
102D-208CC | GAUGE 2"F X 1/8" CBM, DRY, ACRYLIC LENS,STEEL/BR 30'/30 PSI HG VAC | 01-PRESSURE GAUGES | 2.206 | 15
202D-254BBK | GAUGE 2-1/2"F X 1/4" CBM, DRY, CRIMPED, POLY LENS, SS/BR 0-5 PSI/BAR KPA | 01-PRESSURE GAUGES | 4.828 | 13
210D-254G | GAUGE 2-1/2"F X 1/4"LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/BR 0-200 PSI | 01-PRESSURE GAUGES | 6.458 | 11
210D-402D | GAUGE 4"F X 1/2"LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/BR 0-60 PSI | 01-PRESSURE GAUGES | 19.696 | 10
302D-254MBK | GAUGE 2-1/2"F X 1/4" CBM, DRY, CRIMPED, POLY LENS, SS/SS 0-1,000 PSI/BAR KPA | 01-PRESSURE GAUGES | 11.376 | 10
302D-254RBK | GAUGE 2-1/2"F X 1/4" CBM, DRY, CRIMPED, POLY LENS, SS/SS 0-5,000 PSI/BAR KPA | 01-PRESSURE GAUGES | 11.376 | 9
310L-454G | GAUGE 200 PSI LF 4X1/2 BM SS 233.54 | 01-PRESSURE GAUGES | 21.694 | 7
601L-254V | GAUGE 2-1/2"F X 1/4" LM, LF, CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 0-15,000 PSI | 01-PRESSURE GAUGES | 15.6 | 5
202D-254EBK | GAUGE 2-1/2"F X 1/4" CBM, DRY, CRIMPED, POLY LENS, SS/BR 0-100 PSI/BAR KPA | 01-PRESSURE GAUGES | 4.828 | 1
310D-402K | GAUGE 4"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-600 PSI | 01-PRESSURE GAUGES | 27.162 | 1
310L-402Q | GAUGE 4"F X 1/2"LM, LF, REMOVEABLE BEZEL, SAFETY LENS, SS/SS 0-4,000 PSI | 01-PRESSURE GAUGES | 27.016 | 1
601L-254U | GAUGE 2-1/2"F X 1/4" LM, LF, CRIMPED BEZEL, ACRYLIC LENS, CAST BR/BR 0-10,000 PSI | 01-PRESSURE GAUGES | 15.6 | 1
2006W08 | BALL VALVE 1-1/2" 2,000# - FPTFE SEAT - 316 STAINLESS BALL | 02-BALL VALVES | 42.462 | 272
2006OV3/8 | BALL VALVE 3/8” OVAL HANDLE | 02-BALL VALVES | 7.394 | 167
2006OV11/4 | BALL VALVE 1-1/4” OVAL HANDLE | 02-BALL VALVES | 8.216 | 101
2006OV3/4 | BALL VALVE 3/4” OVAL HANDLE | 02-BALL VALVES | 7.394 | 93
2006OV11/2 | BALL VALVE 1-1/2” OVAL HANDLE | 02-BALL VALVES | 10.68 | 75
2006OV1/4 | BALL VALVE 1/4” OVAL HANDLE | 02-BALL VALVES | 7.552 | 71
2006OV1 | BALL VALVE 1” OVAL HANDLE | 02-BALL VALVES | 8.216 | 49
207GRD263L | BALL VALVE 2" 750# RP DI RPTFE SS TRIM GROOVED | 02-BALL VALVES | 42.752 | 40
2006OV2 | BALL VALVE 2” OVAL HANDLE | 02-BALL VALVES | 10.68 | 6
BFH3SQ | BUTTERFLY VALVE 3" SQ HANDLE | 03-BUTTERFLY VALVES | 4.176 | 294
2014DWSER10 | BUTTERFLY VALVE 2-1/2" 200# EPDM SEAT DI 316SS DISC WAFER | 03-BUTTERFLY VALVES | 12.2 | 156
BFH2DD | BUTTERFLY VALVE 2" DD HANDLE | 03-BUTTERFLY VALVES | 3.364 | 40
2014DWNB15-L | BUTTERFLY VALVE 8" 200# BUNA SEAT DI NICKEL PLATED DISC LONG NECK ALIGNMENT HOLES | 03-BUTTERFLY VALVES | 86.218 | 37
2014DWSBR17 | BUTTERFLY VALVE 12" 200# BUNA SEAT DI 316 SS DISC WAFER | 03-BUTTERFLY VALVES | 447 | 28
2015CWSV15 | BUTTERFLY VALVE 8" 200# VITON SEAT CS 316SS DISC WAFER | 03-BUTTERFLY VALVES | 129.724 | 23
2015CWSV10 | 2.5IN 150 WAFER TYPE WCBx316SSx410xV ITON W/10 POSITION LEVER | 03-BUTTERFLY VALVES | 85.23 | 22
2015CWSV14 | 6IN 150 WAFER TYPE WCBx316SSx410xVIT ON W/10 POSITION LEVER | 03-BUTTERFLY VALVES | 207.692 | 17
BFH2SQ | BUTTERFLY VALVE 2" SQ HANDLE | 03-BUTTERFLY VALVES | 4.186 | 7
2015CWSV09 | 2IN 150 WAFER TYPE WCBx316SSx410xVIT ON W/10 POSITION LEVER | 03-BUTTERFLY VALVES | 62.8 | 6
2014DWSBR10 | BUTTERFLY VALVE 2-1/2" 200# BUNA SEAT DI 316 SS DISC WAFER | 03-BUTTERFLY VALVES | 29.63 | 5
2014DWSER13 | BUTTERFLY VALVE 5" 200# EPDM SEAT DI 316SS DISC WAFER | 03-BUTTERFLY VALVES | 18.296 | 4
2015CWSV16 | 10IN 150 WAFER TYPE WCBx316SSx410xVI TON W/10 POSITION LEVER | 03-BUTTERFLY VALVES | 456.924 | 4
4FLAPPER | CHECK VALVE 4" REPLACEMENT FLAPPER | 04-CHECK VALVES | 35.42 | 22
34-N40-160F | TEMP GAUGE 3" DIAL-4" STEM 1/2" NPT CBM N40-160 F | 05-TEMPERATURE GAUGES | 6.97 | 611
34-N50-550F | TEMP GAUGE 3" DIAL-4" STEM 1/2" NPT CBM N50-550 F | 05-TEMPERATURE GAUGES | 6.97 | 441
5A6-50-500F | TEMP GAUGE 5" DIAL -6" STEM 1/2" NPT ANGLE 50-500 F | 05-TEMPERATURE GAUGES | 36.252 | 180
39-N40-160F | TEMP GAUGE 3" DIAL-9" STEM 1/2" NPT CBM N40-160 F | 05-TEMPERATURE GAUGES | 6.97 | 160
5A9-0-250F | TEMP GAUGE 5" DIAL -9" STEM 1/2" NPT ANGLE 0-250 F | 05-TEMPERATURE GAUGES | 39.58 | 41
39-50-300F | TEMP GAUGE 3" DIAL-9" STEM 1/2" NPT CBM 50-300 F | 05-TEMPERATURE GAUGES | 5.236 | 25
5A6-0-200F | TEMP GAUGE 5" DIAL -6" STEM 1/2" NPT ANGLE 0-200 F | 05-TEMPERATURE GAUGES | 11.07 | 23
5A9-0-200F | TEMP GAUGE 5" DIAL -9" STEM 1/2" NPT ANGLE 0-200 F | 05-TEMPERATURE GAUGES | 22.662 | 20
5A4-0-550FC | TEMP GAUGE 5" DIAL -4" STEM 1/2" NPT ANGLE 0-550 F/C DUAL SCALE | 05-TEMPERATURE GAUGES | 19.798 | 16
56-N50-550F | TEMP GAUGE 5" DIAL -6" STEM 1/2" NPT ANGLE N50-550 F | 05-TEMPERATURE GAUGES | 13.608 | 14
5A2.5-50-500F | TEMP GAUGE 5" DIAL - 2-1/2" STEM 1/2" NPT ANGLE 50-500 F | 05-TEMPERATURE GAUGES | 36.402 | 12
34-200-1000F | TEMP GAUGE 3" DIAL-4" STEM 1/2" NPT CBM 200-1000 F | 05-TEMPERATURE GAUGES | 43.516 | 10
5A2.5-N50-550F | TEMP GAUGE 5" DIAL - 2-1/2" STEM 1/2" NPT ANGLE N50-550 F | 05-TEMPERATURE GAUGES | 18.096 | 7
5A9-50-500F | TEMP GAUGE 5" DIAL -9" STEM 1/2" NPT ANGLE 50-500 F | 05-TEMPERATURE GAUGES | 20.104 | 7
5A12-50-550FC | TEMP GAUGE 5" DIAL-12" STEM 1/2" NPT ANGLE 50-550 F/C DUAL SCALE | 05-TEMPERATURE GAUGES | 19.688 | 6
3A6-0-500F | TEMP GAUGE 3" DIAL - 6" STEM 1/2" NPT ANGLE 0-500 F | 05-TEMPERATURE GAUGES | 2.844 | 4
5A4-0-200F | TEMP GAUGE 5" DIAL -4" STEM 1/2" NPT ANGLE 0-200 F | 05-TEMPERATURE GAUGES | 19.052 | 3
5A9-50-400FC | TEMP GAUGE 5" DIAL -9" STEM 1/2" NPT ANGLE 50-400 F/C DUAL SCALE | 05-TEMPERATURE GAUGES | 37.972 | 3
3A6-50-550F | TEMP GAUGE 3" DIAL - 6" STEM 1/2" NPT ANGLE 50-550 F | 05-TEMPERATURE GAUGES | 10.82 | 2
3A2.5-0-250F | TEMP GAUGE 3" DIAL - 2-1/2" STEM 1/2" NPT ANGLE 0-250 F | 05-TEMPERATURE GAUGES | 10.594 | 1
3600WSW02 | BALL VALVE 1/4" 3600# - POM SEAT - 316 STAINLESS BALL, DELRIN SEAT, FIRESAFE | 06-BALL VALVE HIGH PRESSURE | 39.738 | 276
851T03 | GATE VALVE 3/8" CLASS 800 CR13 SS TRIM-A105-API 602 | 07-GATE VALVES | 10.282 | 8
450L-452C-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, LIQUID, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-30 PSI | 09-PROCESS GAUGES | 18.986 | 195
450D-452P | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-3,000 PSI | 09-PROCESS GAUGES | 19.992 | 65
450D-452U | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-10,000 PSI/BAR/KPA | 09-PROCESS GAUGES | 20.136 | 64
450L-452D-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, LIQUID, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-60 PSI | 09-PROCESS GAUGES | 18.986 | 58
450D-452V | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-15,000 PSI | 09-PROCESS GAUGES | 21.774 | 53
450D-452S-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-6,000 PSI | 09-PROCESS GAUGES | 23.724 | 45
450L-452U-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, LIQUID, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-10,000 PSI | 09-PROCESS GAUGES | 18.986 | 40
450D-452C | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-30 PSI/BAR/KPA | 09-PROCESS GAUGES | 21.458 | 14
450L-452U | PROCESS GAUGE 4-1/2"F X 1/2" LM, LF, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-10,000 PSI/BAR/KPA | 09-PROCESS GAUGES | 17.878 | 14
450D-452N | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-1,500 PSI | 09-PROCESS GAUGES | 20.756 | 11
450L-452CC-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, LIQUID, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 30"/30 PSI HG VAC | 09-PROCESS GAUGES | 17.88 | 11
450L-452R-LI | PROCESS GAUGE 4-1/2"F X 1/2" LM, LIQUID, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-5,000 PSI KG/CM2 | 09-PROCESS GAUGES | 18.988 | 11
450D-452M | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-1000 PSI/BAR/KPA | 09-PROCESS GAUGES | 19.498 | 9
450D-452C-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-30 PSI | 09-PROCESS GAUGES | 23.992 | 6
450D-452CE-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 30"/100 PSI HG VAC | 09-PROCESS GAUGES | 22.716 | 6
450D-452E | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-100 PSI/BAR/KPA | 09-PROCESS GAUGES | 20.734 | 6
450D-452A-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 30"/0 PSI HG VAC | 09-PROCESS GAUGES | 22.266 | 5
450D-452F-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-160 PSI | 09-PROCESS GAUGES | 24.692 | 2
450D-452B-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, DRY, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-15 PSI | 09-PROCESS GAUGES | 22.586 | 1
450L-452L-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, LF, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-800 PSI | 09-PROCESS GAUGES | 18.986 | 1
450L-452S-S | PROCESS GAUGE 4-1/2"F X 1/2" LM, LF, REMOVEABLE BEZEL, SAFETY LENS, PBTP/SS 0-6000 PSI | 09-PROCESS GAUGES | 17.986 | 1
SEATINGNPL11/2X1210RDNUE | SEATING NIPPLE 1-1/2" X 12" 10RD NUE | 100-SEATING NIPPLES | 14.714 | 24
NPL1/8X3XHSS | NIPPLE 1/8" X 3" XH SEAMLESS 316 SS | 101-SS NIPPLES | 0.98 | 372
NPL1/8X2XHSS | NIPPLE 1/8" X 2" XH SEAMLESS 316 SS | 101-SS NIPPLES | 0.82 | 325
NPL1/8X6XHSS | NIPPLE 1/8" X 6" XH SEAMLESS 316 SS | 101-SS NIPPLES | 1.496 | 164
NPL3/8X6XHSS | NIPPLE 3/8" X 6" XH SEAMLESS 316 SS | 101-SS NIPPLES | 2.594 | 95
NPL1/8X21/2XHSS | NIPPLE 1/8" X 2-1/2" XH SEAMLESS 316 SS | 101-SS NIPPLES | 1.292 | 46
NPL1/8X31/2XHSS | NIPPLE 1/8" X 3-1/2" XH SEAMLESS 316 SS | 101-SS NIPPLES | 1.57 | 25
NPL1/8X5XHSS | NIPPLE 1/8" X 5" XH SEAMLESS 316 SS | 101-SS NIPPLES | 1.938 | 25
NPL3/8X8XHSS | NIPPLE 3/8" X 8" XH SEAMLESS 316 SS | 101-SS NIPPLES | 3.456 | 23
NPL1/8X8XHSS | NIPPLE 1/8" X 8" XH SEAMLESS 316 SS | 101-SS NIPPLES | 2.246 | 20
NPL4X3XHSS | NIPPLE 4" X 3" XH SEAMLESS 316 SS | 101-SS NIPPLES | 23.246 | 16
NPL4X12XHSS | NIPPLE 4" X 12" XH SEAMLESS 316 SS | 101-SS NIPPLES | 108.91 | 14
NPL1/8X10XHSS | NIPPLE 1/8" X 10" XH SEAMLESS 316 SS | 101-SS NIPPLES | 2.656 | 13
NPL1/8X1XHSS | NIPPLE 1/8" X 1" XH SEAMLESS 316 SS | 101-SS NIPPLES | 1.02 | 10
ELL3/4-45-3MTHRDSS | ELL 3/4" 45 3000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 11.48 | 528
ELL3/8-45-3MTHRDSS | ELL 3/8" 45 3000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 5.972 | 432
ELL1/4-45-3MTHRDSS | ELL 1/4" 45 3000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 4.41 | 302
BUSH11/2X3/4-3MTHRDSS | BUSHING 1-1/2" x 3/4" 3000# THRD 316SS A182 | 102-SS FORGED FITTINGS | 8.92 | 222
BUSH11/2X1/2-3MTHRDSS | BUSHING 1-1/2" x 1/2" 3000# THRD 316SS A182 | 102-SS FORGED FITTINGS | 8.78 | 207
BUSH11/4X1/2-3MTHRDSS | BUSHING 1-1/4" x 1/2" 3000# THRD 316SS A182 | 102-SS FORGED FITTINGS | 6.946 | 166
ELL2-45-3MTHRDSS | ELL 2" 45 3000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 45.692 | 95
ELL1-45-3MTHRDSS | ELL 1" 45 3000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 18.02 | 91
BUSH11/2X3/8-3MTHRDSS | BUSHING 1-1/2" x 3/8" 3000# THRD 316SS A182 | 102-SS FORGED FITTINGS | 8.78 | 62
TEE1/8-3MTHRDSS | TEE 1/8" 3000# THRD 316SS A182 | 102-SS FORGED FITTINGS | 6.768 | 25
ELL4-90-2MTHRDSS | ELL 4" 90 2000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 239.616 | 21
TEE11/4-3MTHRDSS | TEE 1-1/4" 3000# THRD 316SS A182 | 102-SS FORGED FITTINGS | 33.142 | 19
TEE4-2MTHRDSS | TEE 4" 2000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 295.924 | 16
ELL3-90-2MTHRDSS | ELL 3" 90 2000# NPT 316SS A182 | 102-SS FORGED FITTINGS | 91.838 | 15
INCVSS02-1/3R | CHECK VALVE ¼IN 6000# MXF (FLOWM TO F)VITON SS BALL & 1/3 LB SPRINGINLINE RELIEF | 11-NEEDLE VALVES | 11.798 | 624
MVDSA5 | 1/4IN M X 1/4IN M SS MINI NV W/ROUND HANDLE & DELRIN SEAT 6K PSI | 11-NEEDLE VALVES | 13.076 | 544
SPV6CEVB | NEEDLE VALVE 3/8" CE x 3/8" CE SS W/ DELRIN SEAT 6K WITH BLEED | 11-NEEDLE VALVES | 40 | 237
CPV4M8FT | NEEDLE VALVE 1/4" M X 1/2" F CARBON STEEL W/ METAL SEAT 10K PSI | 11-NEEDLE VALVES | 22.866 | 188
MCH4M4M | NEEDLE VALVE 1/4" M X 1/4" M CARBON STEEL MINI W/T- BAR & DELRIN SEAT 6K PSI | 11-NEEDLE VALVES | 5.288 | 154
SPV38F38FV | 3/8INF X 3/8INF STAINLESS STEEL NEE DLE VALVE 6,000 PSI | 11-NEEDLE VALVES | 3.846 | 71
SPV12M12FVB | NEEDLE VALVE 3/4" M X 3/4" F SS W/ DELRIN SEAT 6K PSI WITH BLEED | 11-NEEDLE VALVES | 25.072 | 41
CPV12M12FVB | NEEDLE VALVE 3/4" M X 3/4" F CARBON STEEL W/ DELRIN SEAT 6K PSI WITH BLEED | 11-NEEDLE VALVES | 11.358 | 31
CPV16M16FVB | NEEDLE VALVE 1" M X 1" F CARBON STEEL W/ DELRIN SEAT 6K PSI WITH BLEED | 11-NEEDLE VALVES | 17.494 | 13
CPV4M4FVB | NEEDLE VALVE 1/4" M X 1/4" F CARBON STEEL W/ DELRIN SEAT 6K PSI WITH BLEED | 11-NEEDLE VALVES | 12.036 | 10
SPV8F4FV | NEEDLE VALVE 1/2" F x 1/4" F SS W/ DELRIN SEAT 6K PSI | 11-NEEDLE VALVES | 22.77 | 9
CPV8M8FVB | NEEDLE VALVE 1/2" M X 1/2" F CARBON STEEL W/ DELRIN SEAT 6K PSI WITH BLEED | 11-NEEDLE VALVES | 12.172 | 5
S1x402-08-08 | TUBING ADAPTOR 1/2" M NPT X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.576 | 890
S1x301B-LN-08-08 | BULKHEAD CONNECTOR 1/2" T X 1/2" F NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 13.512 | 166
S1x101-04-04 | TUBING ELL 1/4" T X 1/4" WELD 90 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.496 | 128
S1x502-04-04-06 | TUBING TEE BRANCH 1/4" T X 1/4" T X 3/8" M NPT 316 SS SF | 12-TUBE LOCK FITTINGS SF | 13.59 | 100
S1x300B-LN-08-08 | CONNECTOR BULKHEAD 1/2" T x 1/2" M NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 10.832 | 88
S1x503-08-06-08 | TUBING TEE MALE RUN 1/2"T x3/8"M NPT x 1/2"T 316 SS SF | 12-TUBE LOCK FITTINGS SF | 18.13 | 85
S1x101-08-08 | TUBING ELL 1/2" T X 1/2" WELD 90 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 11.466 | 80
S1x502-08-08-06 | TUBING TEE BRANCH 1/2" T X 1/2" T X 3/8" M NPT 316 SS SF | 12-TUBE LOCK FITTINGS SF | 18.12 | 73
S1x503-06-08-06 | TUBING TEE MALE RUN 3/8"T x 1/2"M NPT x 3/8"T 316 SS SF | 12-TUBE LOCK FITTINGS SF | 15.108 | 71
S1x504-08-08-04 | TUBING UNION TEE 1/2" T X 1/2" T X 1/4" T-RE 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 19.878 | 66
S1x502-08-08-04 | TUBING TEE BRANCH 1/2" T X 1/2" T X 1/4" M NPT 316 SS SF | 12-TUBE LOCK FITTINGS SF | 15.736 | 64
S1x600B-LN-08-08 | TUBING REDUCER 1/2" T X 1/2" T BULK 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 12.54 | 60
S1x402-08-06 | TUBING ADAPTOR 1/2" M NPT X 3/8" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.32 | 49
S1x600B-LN-04-04 | TUBING REDUCER 1/4" T X 1/4" T BULK 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 8.554 | 45
S1x302-04-02 | TUBING CONNECTOR 1/4" T X 1/8" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 4.704 | 42
S1x302-06-08 | TUBING CONNECTOR 3/8" T X 1/2" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.42 | 42
S1x600B-LN-06-06 | TUBING REDUCER 3/8" T X 3/8" T BULK 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 10.972 | 42
S1x300B-LN-06-08 | CONNECTOR BULKHEAD 3/8" T x 1/2" M NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 9.938 | 41
S1x402-06-08 | TUBING ADAPTOR 3/8" M NPT X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 5.832 | 41
S1x400-06-08 | TUBING ADAPTOR 3/8" F NPT X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 5.836 | 40
S1x502-06-06-08 | TUBING TEE BRANCH 3/8" T X 3/8" T X 1/2" M NPT 316 SS SF | 12-TUBE LOCK FITTINGS SF | 14.81 | 39
S1x503-04-08-04 | TUBING TEE MALE RUN 1/4"T x 1/2"M NPT x 1/4"T 316 SS SF | 12-TUBE LOCK FITTINGS SF | 20.38 | 32
S1x600-08-06 | TUBING REDUCER 1/2" T X 3/8" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.948 | 30
S1x600-08-08 | TUBING REDUCER 1/2" T X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.524 | 30
S1x300B-LN-06-06 | CONNECTOR BULKHEAD 3/8" T x 3/8" M NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 8.178 | 27
S1x501-08-08-08 | TUBING TEE RUN 1/2"T x 1/2"F NPT x 1/2"T 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 21.844 | 26
S1x600-06-04 | TUBING REDUCER 3/8" T X 1/4" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.46 | 25
S1x301B-LN-08-06 | BULKHEAD CONNECTOR 1/2" T X 3/8" F NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 11.532 | 23
S1x400-04-06 | TUBING ADAPTOR 1/4" F NPT X 3/8" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 4.818 | 23
S1x400-08-04 | TUBING ADAPTOR 1/2" F NPT X 1/4" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 5.576 | 21
S1x500-06-06-04 | TUBING TEE BRANCH 3/8" X T X 3/8" T X 1/4" F NPT 316 SS SF | 12-TUBE LOCK FITTINGS SF | 15.046 | 21
S1x401-04-04 | TUBING ADAPTOR 1/4" F NPT X 1/4" M NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 4.83 | 20
S1x600-04-02 | TUBING REDUCER 1/4" T X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.154 | 19
S1x600-06-06 | TUBING REDUCER 3/8" T X 3/8" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.718 | 19
S1x301B-LN-06-04 | BULKHEAD CONNECTOR 3/8" T X 1/4" F NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.848 | 18
S1x600-08-04 | TUBING REDUCER 1/2" T X 1/4" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.946 | 18
S1x600-04-04 | TUBING REDUCER 1/4" T X 1/4" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 3.872 | 17
S1x303-06-06 | TUBING CONNECTOR 3/8" T X 3//8" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.486 | 16
S1x503-04-06-04 | TUBING TEE MALE RUN 1/4"T x 3//8"M NPT x 1/4"T 316 SS SF | 12-TUBE LOCK FITTINGS SF | 11.368 | 16
S1x504-06-04-06 | TUBING UNION TEE 3/8" T X 1/4" T X 3/8" T-RE 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 15.218 | 16
S1x504-08-04-04 | TUBING UNION TEE 1/2" T X 1/4" T X 1/4" T-RE 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 18.62 | 16
S1x302-08-08 | TUBING CONNECTOR 1/2" T X 1/2" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 9.38 | 15
S1x303-08-08 | TUBING CONNECTOR 1/2" T X 1/2" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 10.332 | 15
S1x501-08-06-08 | TUBING TEE RUN 1/2"T x 3/8"F NPT x 1/2"T 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 19.23 | 15
S1x504-06-04-04 | TUBING UNION TEE 3/8" T X 1/4" T X 1/4" T-RE 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 15.638 | 15
S1x503-08-04-08 | TUBING TEE MALE RUN 1/2"T x 1/4"M NPT x 1/2"T 316 SS SF | 12-TUBE LOCK FITTINGS SF | 18.44 | 14
S1x504-08-06-06 | TUBING UNION TEE 1/2" T X 3/8" T X 3/8" T-RE 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 19.88 | 14
S1x502-04-04-08 | TUBING TEE BRANCH 1/4" T X 1/4" T X 1/2" M NPT 316 SS SF | 12-TUBE LOCK FITTINGS SF | 15.02 | 13
S1x302-06-06 | TUBING CONNECTOR 3/8" T X 3/8" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 5.99 | 12
S1x301B-LN-04-04 | BULKHEAD CONNECTOR 1/4" T X 1/4" F NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.138 | 10
S1x400-08-08 | TUBING ADAPTOR 1/2" F NPT X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.796 | 10
S1x402-08-04 | TUBING ADAPTOR 1/2" M NPT X 1/4" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.266 | 10
S1x401-08-08 | TUBING ADAPTOR 1/2" F NPT X 1/2" M NPT 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 7.77 | 8
S1x402-04-08 | TUBING ADAPTOR 1/4" M NPT X 1/2" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 6.184 | 8
S1x303-04-04 | TUBING CONNECTOR 1/4" T X 1/4" WELD 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 5.284 | 4
S1x400-06-04 | TUBING ADAPTOR 3/8" F NPT X 1/4" STUB 316 SS SINGLE FERRULE | 12-TUBE LOCK FITTINGS SF | 4.588 | 4
S1x501-06-06-06 | TUBING TEE RUN 3/8"T x 3/8"F NPT x 3/8"T 316 SS SNGL FRL | 12-TUBE LOCK FITTINGS SF | 16.538 | 3
TW22-6S | THERMOWELL 1/2" X 1/2" X 6" STEM 316 SS | 13-THERMOWELLS | 8.454 | 24
01SSVPL | 1/8" SS BLEED PLUG | 14-MISCELLANEOUS | 0.868 | 1150
TP- PJ4l8 PLUG-U | API41/8"? -ACMEP LUG | 14-MISCELLANEOUS | 1.54 | 700
TP-PJ.418 CAP-U | API41/8'3-ACMEC AP | 14-MISCELLANEOUS | 1.54 | 700
MGASKET-SWITCHHITTER | PTFE GASKETS FOR SWITCH HITTERS | 14-MISCELLANEOUS | 0.774 | 457
CLAMPR-2.5 | GAUGE CLAMP RHOMBUS TYPE 2-1/2" | 14-MISCELLANEOUS | 0.504 | 200
UBOLT-3-EG | U-BOLT 3" STANDARD EG | 14-MISCELLANEOUS | 0.54 | 200
CLAMPR-2.0 | GAUGE CLAMP RHOMBUS TYPE 2" | 14-MISCELLANEOUS | 0.504 | 97
GTRB1/2X25 | GAUGE TAPE 1/2" X 25' SOLID BLACK REFILL | 14-MISCELLANEOUS | 5.616 | 28
GTCB1/2X18 | GAUGE TAPE 1/2" X 18' CHROME/BLACK W/BRASS PLUMB BOB | 14-MISCELLANEOUS | 12.336 | 18
GTRCB1/2X50 | GAUGE TAPE 1/2" X 50' CHROME/BLACK REFILL | 14-MISCELLANEOUS | 9.218 | 17
GTC1/2X18 | GAUGE TAPE 1/2" X 18' CHROME W/BRASS PLUMB BOB | 14-MISCELLANEOUS | 12.336 | 8
S2x301-08-08 | TUBING CONNECTOR 1/2" T X 1/2" F NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 8.758 | 952
S2x501-06-04-06 | TUBING TEE FEMALE RUN 3/8"T x 1/4"F NPT x 3/8"T 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 13.52 | 784
S2x201B-LN-06-04 | TUBING BULKHEAD REDUCING UNION 3/8" T X 1/4" T 316 SS DBL FRL | 15-TUBE LOCK FITTINGS DF | 4.32 | 362
S2x102-08-04 | TUBING ELL 1/2"T x 1/4"F NPT 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 15.376 | 149
S2x300B-LN-08-08 | TUBING BULKHEAD CONNECTOR 1/2" T x 1/2" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 12.186 | 145
S2x503-04-08-04 | TUBING TEE MALE RUN 1/4"T x 1/2"M NPT x 1/4"T 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 19.488 | 105
S2x300B-LN-04-04 | TUBING BULKHEAD CONNECTOR 1/4" T x 1/4" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 6.05 | 100
S2x302-06-04 | TUBING CONNECTOR 3/8" T X 1/4" WELD 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 1.742 | 86
S2x102-08-06 | TUBING ELL 1/2"T x 3/8"F NPT 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 11.108 | 73
S2x400-04-04 | TUBING ADAPTOR 1/4" F NPT X 1/4" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 3.386 | 60
S2x401-04-04 | TUBING ADAPTOR 1/4" F NPT X 1/4" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 6.29 | 60
S2x501-04-04-04 | TUBING TEE FEMALE RUN 1/4"T x 1/4"F NPT x 1/4"T 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 12.082 | 60
S2x401-06-06 | TUBING ADAPTOR 3/8" F NPT X 3/8" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 8.334 | 51
S2x301B-LN-08-08 | TUBING BULKHEAD CONNECTOR 1/2" T X 1/2" F NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 12.836 | 45
S2x105B-LN-04-04 | TUBING BULKHEAD ELL 1/4" T X 1/4" 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 13.308 | 44
S2x402-04-04 | TUBING ADAPTOR 1/4" M NPT X 1/4" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 3.156 | 43
S2x502-06-06-08 | TUBING TEE MALE BRANCH 3/8" T X 3/8" T X 1/2" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 10.954 | 40
S2x101-08-08 | TUBING ELL 1/2" T X 1/2" BUTT WELD 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 11.462 | 38
S2x301B-LN-06-04 | TUBING BULKHEAD CONNECTOR 3/8" T X 1/4" F NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 8.102 | 36
S2x104-04-04 | TUBING ELL 1/4" T X 1/4" SOCKET WELD 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 5.954 | 30
S2x104-08-08 | TUBING ELL 1/2" T X 1/2" SOCKET WELD 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 12.216 | 30
S2x502-08-08-06 | TUBING TEE MALE BRANCH 1/2" T X 1/2" T X 3/8" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 17.96 | 30
S2x504-08-04-08 | TUBING UNION TEE 1/2" T X 1/4" T X 1/2" T-RE 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 19.766 | 30
S2x102-04-08 | TUBING ELL 1/4"T x 1/2"F NPT 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 13.062 | 27
S2x600-06-04 | TUBING REDUCER 3/8" T X 1/4" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 4.498 | 27
S2x105B-LN-06-06 | TUBING BULKHEAD ELL 3/8" T X 3/8" 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 17.97 | 26
S2x402-08-08 | TUBING ADAPTOR 1/2" M NPT X 1/2" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 6.404 | 25
S2x400-04-06 | TUBING ADAPTOR 1/4" F NPT X 3/8" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 3.45 | 24
S2x101-04-04 | TUBING ELL 1/4" T X 1/4" BUTTWELD 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 0.834 | 21
S2x102-04-06 | TUBING ELL 1/4"T x 3/8"F NPT 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 9.984 | 20
S2x104-06-06 | TUBING ELL 3/8" T X 3/8" SOCKET WELD 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 1.214 | 20
S2x502-08-08-04 | TUBING TEE MALE BRANCH 1/2" T X 1/2" T X 1/4" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 15.496 | 20
S2x101-06-06 | TUBING ELL 3/8" T X 3/8" BUTT WELD 90 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 8.924 | 15
S2x502-04-04-06 | TUBING TEE MALE BRANCH 1/4" T X 1/4" T X 3/8" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 13.534 | 15
S2x504-08-08-04 | TUBING UNION TEE 1/2" T X 1/2" T X 1/4" T-RE 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 18.44 | 15
S2x402-06-08 | TUBING ADAPTOR 3/8" M NPT X 1/2" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 6.302 | 12
S2x502-04-04-08 | TUBING TEE MALE BRANCH 1/4" T X 1/4" T X 1/2" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 13.284 | 12
S2x402-08-04 | TUBING ADAPTOR 1/2" M NPT X 1/4" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 7.85 | 7
S2x500-08-08-06 | TUBING TEE FEMALE BRANCH 1/2"T X 1/2" T X 3/8" F NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 16.538 | 5
S2x502-06-06-06 | TUBING TEE MALE BRANCH 3/8" T X 3/8" T X 3/8" M NPT 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 12.158 | 5
S2x402-04-08 | TUBING ADAPTOR 1/4" M NPT X 1/2" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 7.574 | 3
S2x402-08-06 | TUBING ADAPTOR 1/2" M NPT X 3/8" STUB 316 SS DOUBLE FERRULE | 15-TUBE LOCK FITTINGS DF | 7.31 | 2
RG-BX-157 CSZ | GASKET BX157 CS RING | 16-RING GASKETS | 17.86 | 225
RG-R-12 CSZ | GASKET R12 OVAL CS RING | 16-RING GASKETS | 2.868 | 207
RG-R-16 SS316 | GASKET R16 OVAL SS RING | 16-RING GASKETS | 4.758 | 146
RG-R-65 CSZ | GASKET R65 OVAL CS RING | 16-RING GASKETS | 37.488 | 144
RG-RX-23 CSZ | GASKET RX23 CS RING | 16-RING GASKETS | 4.752 | 117
RG-R-66 CSZ | GASKET R66 OVAL CS RING | 16-RING GASKETS | 49.664 | 113
RG-RX-57 CSZ | GASKET RX57 CS RING | 16-RING GASKETS | 26.04 | 89
RG-RX-24 CSZ | GASKET RX24 CS RING | 16-RING GASKETS | 5.336 | 62
RG-R-73 CSZ | GASKET R73 OVAL CS RING | 16-RING GASKETS | 38.656 | 55
RG-R-20 SS316 | GASKET R20 OVAL SS RING | 16-RING GASKETS | 6.618 | 49
RG-R-4546 SS316 | GASKET R4546 OVAL SS RING | 16-RING GASKETS | 38.912 | 48
RG-BX-157 SS316 | GASKET BX157 SS RING | 16-RING GASKETS | 90.554 | 34
RG-RX-37 CSZ | GASKET RX37 CS RING | 16-RING GASKETS | 7.488 | 28
RG-R-23 SS316 | GASKET R23 OVAL SS RING | 16-RING GASKETS | 7.676 | 25
RG-R-58 CSZ | GASKET R58 OVAL CS RING | 16-RING GASKETS | 37.488 | 25
RG-RX-37 SS316 | GASKET RX37 SS RING | 16-RING GASKETS | 29.406 | 19
RG-RX-39 SS316 | GASKET RX39 SS RING | 16-RING GASKETS | 27.112 | 17
RG-RX-50 CSZ | GASKET RX50 CS RING | 16-RING GASKETS | 22.016 | 16
RG-RX-26 CSZ | GASKET RX26 CS RING | 16-RING GASKETS | 6.592 | 12
RG-RX-26 SS316 | GASKET RX26 SS RING | 16-RING GASKETS | 12.436 | 11
RG-RX-46 SS316 | GASKET RX46 SS RING | 16-RING GASKETS | 37.506 | 10
RG-RX-73 SS316 | GASKET RX-73 SS RING | 16-RING GASKETS | 124.294 | 7
3VM-SS-8-H-SG | MANIFOLD 3 VALVE , FLANGE TO FLANGE ASTM A 479-316 / NACE-MR01-75 | 17-MANIFOLD VALVES | 123.432 | 16
OP2x1.000-304 | ORIFICE PLATE 2" x 1" BORE 304 STAINLESS STEEL | 18-ORIFICE PLATES | 2.274 | 55
OP4x1.500-304 | ORIFICE PLATE 4" x 1 1/2" BORE 304 STAINLESS STEEL | 18-ORIFICE PLATES | 4.732 | 6
OP2x1.250-304 | ORIFICE PLATE 2" x 1 1/4" BORE 304 STAINLESS STEEL | 18-ORIFICE PLATES | 2.274 | 3
B7SWNGR4PL-NUT-11/8 | NUT, HEX, 1-1/8 8UN, A194 GR 4 OR 7, CAD PLATED | 19-BUYOUT | 0.894 | 559
EOL1X36-2-3MSWFS | ELBOW OUTLET 1” X (2”-36”) 3000# SW FS A105 | 19-BUYOUT | 13.378 | 4
CL8DWA | CAMLOCK 8” F ADAPTOR X 8” SOCKETWELD ALUM | 20-CAMLOCK COUPLINGS | 70.85 | 104
CL2DSS316 | CAMLOCK 2" F COUPLER X 2" FNPT TYPE D SS316 | 20-CAMLOCK COUPLINGS | 13.662 | 40
B7SWNBK-NUT-11/2 | NUT, HEX, 1-1/2 8UN, A194 GR 2H | 21-B7 STUDS & NUTS | 0.154 | 33120
B7SWNPL-NUT-13/4 | STUD NUT 1-3/4” ZINC PLATED | 21-B7 STUDS & NUTS | 3.578 | 7659
B7SWNBK-NUT-11/8 | STUD NUT 1 1/8” BLACK | 21-B7 STUDS & NUTS | 0.868 | 6951
B7SWNPL-NUT-1 | STUD NUT 1" ZINC PLATED | 21-B7 STUDS & NUTS | 0.748 | 6749
B7TESPL11/2X73/4 | TAP END STUD 1-1/2" X 7-3/4" PLATED-B7 | 21-B7 STUDS & NUTS | 5.922 | 6190
B7SWNPL11/8X83/4 | ASSEMBLY OF STUD 1-1/8" X 8-3/4" W/NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 5.642 | 6058
B7TESPL11/8X6 | TAP END STUD 1-1/8" X 6" PLATED-B7 | 21-B7 STUDS & NUTS | 2.86 | 3752
B7SWNGR4PL-NUT-3/4 | NUT HEX 3/4 10UNC A194 GR 4 OR 7 CAD PLATED | 21-B7 STUDS & NUTS | 0.526 | 3684
B7SWNPL-NUT-11/8 | STUD NUT 1-1/8” ZINC PLATED | 21-B7 STUDS & NUTS | 1.024 | 3291
B7TESPL13/4X91/2 | TAP END STUD 1-3/4" X 9-1/2" PLATED-B8 | 21-B7 STUDS & NUTS | 9.622 | 3243
B7SWNGR4PL-NUT-7/8 | NUT HEX 7/8 9UNC A194 GR 4 OR 7 CAD PLATED | 21-B7 STUDS & NUTS | 0.786 | 3069
B7TESPL1X41/2 | TAP END STUD 1" X 4-1/2" PLATED-B7 | 21-B7 STUDS & NUTS | 1.344 | 2299
B7SWNPL-NUT-17/8 | STUD NUT 1-7/8” ZINC PLATED | 21-B7 STUDS & NUTS | 4.008 | 1912
B7TESPL7/8X4 | TAP END STUD 7/8” X 4” PLATED-B7 | 21-B7 STUDS & NUTS | 0.998 | 1820
B7SWNGR4PL-NUT-17/8 | NUT HEX 1-7/8 8UN A194 GR 4 OR 7 CAD PLATED | 21-B7 STUDS & NUTS | 6.414 | 1339
B7SWNPL7/8X51/4 | ASSEMBLY OF STUD 7/8" X 5 1/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 1.752 | 1075
B7TESPL11/2X7 | TAP END STUD 1-1/2” X 7” PLATED-B7 | 21-B7 STUDS & NUTS | 5.748 | 1066
B7SWNBK-NUT-5/8 | STUD NUT 5/8” BLACK | 21-B7 STUDS & NUTS | 0.136 | 968
L7TESPL17/8X9 | TAP END STUD 1-7/8" X 9" PLATED-L7 | 21-B7 STUDS & NUTS | 11.61 | 922
B7TESPL11/8X5 | TAP END STUD 1-1/8" X 5" PLATED-B7 | 21-B7 STUDS & NUTS | 2.156 | 750
B7TESPL7/8X41/2 | TAP END STUD 7/8" X 4-1/2" PLATED-B7 | 21-B7 STUDS & NUTS | 1.188 | 668
B7TESPL15/8X73/4 | TAP END STUD 1-5/8" X 7-3/4" PLATED-B7 | 21-B7 STUDS & NUTS | 7.706 | 650
B7TESPL13/4X9 | TAP END STUD 1-3/4" X 9" PLATED-B7 | 21-B7 STUDS & NUTS | 10.566 | 574
B7SWNPL11/4X103/4 | ASSEMBLY OF STUD 1-1/4" X 10-3/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 5.974 | 482
B7SWNPL17/8X133/4 | ASSEMBLY OF STUD 1-7/8" X 13-3/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 23.388 | 477
B7SWNBK11/4X5 | ASSEMBLY OF STUD 1-1/4" X 5" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 3.374 | 414
B7SWNPL1X131/2 | ASSEMBLY OF STUD 1" X 13-1/2" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 4.054 | 370
B7SWNBK11/4X53/4 | ASSEMBLY OF STUD 1-1/4" X 5-3/4" W NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 3.642 | 356
B7TESTC13/8X7 | TAP END STUD 1-3/8" X 7" Teflon Coated-B7 | 21-B7 STUDS & NUTS | 7.772 | 312
B7SWNPL11/4X73/4 | ASSEMBLY OF STUD 1-1/4" X 7-3/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 6.304 | 272
B7SWNPL11/4X12 | ASSEMBLY OF STUD 1-1/4" X 12" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 6.89 | 269
B7TESPL13/8X7 | TAP END STUD 1-3/8" X 7" PLATED-B7 | 21-B7 STUDS & NUTS | 7.544 | 262
B7SWNBK1X53/4 | ASSEMBLY OF STUD 1" X 5-3/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 2.96 | 232
B7SWNTC-NUT-13/8 | NUT HEX 1-3/8 8UN A194 GR 2H TEFLON COATED | 21-B7 STUDS & NUTS | 2.882 | 230
B7SWNPL7/8X9 | ASSEMBLY OF STUD 7/8" X 9" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 3 | 203
B7SWNPL11/8X6 | ASSEMBLY OF STUD 1-1/8" X 6" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 3.416 | 200
B7SWNPL17/8X81/2 | ASSEMBLY OF STUD 1-7/8" X 8-1/2" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 14.684 | 196
B7SWNPL11/4X5 | ASSEMBLY OF STUD 1-1/4" X 5" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 3.984 | 180
B7SWNPL11/4X53/4 | ASSEMBLY OF STUD 1 -1/4" X 5-3/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 4.284 | 180
B7SWNPL1X5 | STUD 1” X 5” PLATED-B7 | 21-B7 STUDS & NUTS | 2.738 | 180
B7SWNTC-NUT-11/8 | STUD NUT 1-1/8” TEFLON COATED | 21-B7 STUDS & NUTS | 1.916 | 180
L7TESPL7/8X4 | TAP END STUD 7/8" X 4" PLATED-L7 | 21-B7 STUDS & NUTS | 5.808 | 180
B7SWNPL2X151/4 | ASSEMBLY OF STUD 2" X15-1/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 23.458 | 176
B7SWNTC-NUT-2 | NUT, HEX, 2 8UN, A194 GR 2H, TEFLON COATED | 21-B7 STUDS & NUTS | 9.786 | 156
B7SWNBK-NUT-15/8 | NUT HEX 1-5/8 8UN A194 2H | 21-B7 STUDS & NUTS | 2.196 | 150
B7SWNPL13/4X15 | ASSEMBLY OF STUD 1-3/4" X 15" W/NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 17.364 | 150
B7SWNTC13/8X111/4 | ASSEMBLY OF STUD W/TWO NUTS, 1-3/8 8UN X 11-1/4 LG, A193 B7, TEFLON COATED | 21-B7 STUDS & NUTS | 21.37 | 150
L7SWNPL15/8X81/4 | STUD 1-5/8 8UN X 8.25 LG A320 L7 | 21-B7 STUDS & NUTS | 14.422 | 149
B7SWNBK11/8X5 | ASSEMBLY OF STUD 1-1/8" X 5" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 3.22 | 140
B7SWNBK13/8X101/2 | ASSEMBLY OF STUD 1-3/8" X 10-1/2" W/ NUT BLACK-B7 | 21-B7 STUDS & NUTS | 9.44 | 132
B7SWNBK2.0X191/2 | ASSEMBLY OF STUD 2" X 19-1/2" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 34.764 | 125
B7SWNTC-NUT-17/8 | NUT HEX 1-7/8 8UN A194 2H TEFLON COATED | 21-B7 STUDS & NUTS | 8.306 | 123
L7TESPL17/8X91/4 | TAP END STUD 1-7/8" X 9-1/4" PLATED-L7 | 21-B7 STUDS & NUTS | 10.686 | 118
B7SWNPL-NUT-13/8 | STUD NUT 1-3/8" ZINC PLATED | 21-B7 STUDS & NUTS | 1.542 | 111
B7TESPL11/8X51/2 | TAP END STUD 1-1/8" X 5-1/2" PLATED-B7 | 21-B7 STUDS & NUTS | 2.536 | 111
L7TESPL11/8X51/2 | TAP END STUD 1-1/8" X 5-1/2" PLATED-L7 | 21-B7 STUDS & NUTS | 2.586 | 106
B7SWNYCAD3/4X6 | Assembly of STUD, 3/4 X 6 B7M ATS W/22HM YELLOW CAD | 21-B7 STUDS & NUTS | 4.892 | 101
B7TESPL3/4X33/4 | TAP END STUD 3/4" X 3-3/4" PLATED-B7 | 21-B7 STUDS & NUTS | 0.696 | 94
B7SWNBK11/4X81/4 | ASSEMBLY OF STUD 1-1/4" X 8-1/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 4.546 | 88
B7SWNBK2.0X151/2 | ASSEMBLY OF STUD 2" X 15-1/2" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 25.352 | 76
B7SWNPL3/4X171/4 | ASSEMBLY OF STUD ¾IN X 171/4IN W/NUTS PLATEDB7 | 21-B7 STUDS & NUTS | 2.978 | 60
B7TESPL11/4X53/4 | TAP END STUD 1-1/4" X 5-3/4" PLATED-B7 | 21-B7 STUDS & NUTS | 2.834 | 60
B7SWNPL2X141/2 | ASSEMBLY OF STUD 2" X 14-1/2" W/NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 27.594 | 57
B7SWNTC17/8X141/2 | ASSEMBLY OF STUD W/TWO NUTS, 1-7/8 8UN X 14-1/2 LG, A193 B7, TEFLON COATED | 21-B7 STUDS & NUTS | 54.076 | 56
B7SWNBK13/8X8 | ASSEMBLY OF STUD 1-3/8" X 8 W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 6.176 | 54
B7SWNBK17/8X133/4 | STUD 1-7/8" X 13-3/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 20.724 | 50
B7SWNPL5/8X51/4 | ASSEMBLY OF STUD 5/8" X 5-1/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 1.848 | 50
B7SWNXC11/2X111/2 | STUD W/ONE NUT, 1-1/2 8UN X 11-1/2 LG, A453 GR660, RED XYLAN | 21-B7 STUDS & NUTS | 76.094 | 49
B7SWNBK17/8X81/2 | ASSEMBLY OF STUD 1-7/8" X 8-1/2" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 14.466 | 48
B7SWNBK2X141/4 | ASSEMBLY OF STUD 2" X 14-1/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 23.982 | 48
B7SWNBK2.0X171/2 | ASSEMBLY OF STUD 2" X 17-1/2" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 27.544 | 46
B7SWNBK17/8X171/4 | ASSEMBLY OF STUD 1-7/8" X 17-1/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 20.878 | 42
B7SWNBK2X15 | ASSEMBLY OF STUD 2" X 15" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 24.806 | 42
B7TESXC7/8X41/4 | STUD, TAP END, 7/8 9UNC X 4-1/4 LG, A453 GR660, RED XYLAN | 21-B7 STUDS & NUTS | 7.102 | 26
B7SWNPL11/4X91/4 | ASSEMBLY OF STUD 1-1/4" X 9-1/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 6.868 | 23
B7SWNXC-NUT-1 | NUT, HEX, 1 8UNC, A453 GR660, RED 1424-181, XYLAN COATED | 21-B7 STUDS & NUTS | 5.654 | 20
B7SWNBK13/8X91/4 | ASSEMBLY OF STUD 1 3/8" X 9-1/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 6.984 | 17
B7SWNPL11/2X111/4 | ASSEMBLY OF STUD W/TWO NUTS, 1-1/2 8UN X 11-1/4 LG, A193 B7, CAD PLATED | 21-B7 STUDS & NUTS | 12.96 | 16
B7TESPL11/8X43/4 | STUD, TAP END, 1-1/8 8UN X 4-3/4 LG, A193 B7, CAD PLATED | 21-B7 STUDS & NUTS | 4.184 | 16
B7SWNBK17/8X103/4 | ASSEMBLY OF STUD, 1-7/8 8UN X 10-3/4 LG, A193 B7 | 21-B7 STUDS & NUTS | 18.262 | 15
B7SWNBK23/4X201/2 | ASSEMBLY OF STUD 2-3/4" X 20-1/2" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 63.894 | 15
B7TESPL13/8X61/4 | STUD, TAP END, 1-3/8 8UN X 6-1/4 LG, A193 B7, CAD PLATED | 21-B7 STUDS & NUTS | 7.112 | 15
B7SWNBK1X5 | ASSEMBLY OF STUD 1" X5" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 2.03 | 13
B7SWNTC15/8X113/4 | ASSEMBLY OF STUD W/TWO NUTS,1-5/8 8UN X 11-3/4 LG, A193 B7,TEFLON COATED | 21-B7 STUDS & NUTS | 26.27 | 10
B7SWNPL11/4X93/4 | ASSEMBLY OF STUD 1-1/4" X 9-3/4" W/ NUTS PLATED-B7 | 21-B7 STUDS & NUTS | 6.33 | 7
B7SWNBK13/8X13 | ASSEMBLY OF STUD 1-3/8" X 13 W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 9.6 | 5
B7SWNBK15/8x121/2 | ASSEMBLY OF STUD 1-5/8X12-1/2" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 11.83 | 5
B7SWNBK11/8X61/4 | ASSEMBLY OF STUD 1-1/8" X 6-1/4" W/ NUTS BLACK-B7 | 21-B7 STUDS & NUTS | 3.294 | 2
SWG14.00-150SS/G-CGI | CGI GASKET 14" 150# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 10.25 | 600
SWG14.00-600SS/G-CGI | CGI GASKET 14" 600# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 11.232 | 598
SWG12.00-300SS/G-CGI | CGI GASKET 12" 300# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 9.446 | 345
SWG14.00-300SS/G-CGI | CGI GASKET 14" 300# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 10.684 | 80
SWG24.00-150SS/G-CGI | CGI GASKET 24" 150# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 21.228 | 74
SWG16.00-300SS/G-CGI | CGI GASKET 16" 300# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 12.746 | 36
SWG24.00-300SS/G-CGI | CGI GASKET 24" 300# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 23.898 | 36
SWG.50-600SS/G | GASKET 1/2in CL600 SPIRAL WOUND TYPE CG SS-304 | 22-GASKETS | 0.436 | 14
SWG20.00-300SS/G-CGI | CGI GASKET 20" 300# - 304 SS - GRAPHITE FILLED FLEX INNER | 22-GASKETS | 19.48 | 3
HU2X602-M | HAMMER UNION MALE SUB 2" FIG 602 THRD MALE | 23-HAMMER UNIONS | 12.036 | 150
HU2X602-F | HAMMER UNION FEMALE SUB 2" FIG 602 THRD | 23-HAMMER UNIONS | 14.122 | 137
HU3X602BW160 | HAMMER UNION 3” 602 6000# S/160 BW | 23-HAMMER UNIONS | 77.026 | 59
HU8MU | HAMMER SEAL UNION 8" | 23-HAMMER UNIONS | 135.306 | 44
HU8MUSEAL | REPLACEMENT SEALS FOR 8" MUD TANK UNION | 23-HAMMER UNIONS | 22.286 | 25
HU3X200-NUT | HAMMER UNION NUT 3" FIG 2000# THRD | 23-HAMMER UNIONS | 0.35 | 20
HU4X206BW-F | HAMMER UNION 4" FIG 206 FEMALE SUB BW XH | 23-HAMMER UNIONS | 14.426 | 15
HU2X1502BW-F | HAMMER UNION FEMALE SUB 2” FIG. 1502 BW XXH | 23-HAMMER UNIONS | 13.198 | 6
HU4X206B | HAMMER UNION 4" FIG 206 2000# BARBED | 23-HAMMER UNIONS | 69.996 | 6
HU2X1002BW160 | HAMMER UNION 2" Fig 1002 10000# S/160 BW | 23-HAMMER UNIONS | 85.038 | 5
HU2X1502-M | HAMMER UNION MALE SUB 2” 1502 THRD | 23-HAMMER UNIONS | 23.48 | 3
HU2X206-F | HAMMER UNION FEMALE SUB 2" FIG 206 THRD | 23-HAMMER UNIONS | 5.614 | 3
HU4X206-NUT | HAMMER UNION 4” FIG 206 NUT THRD | 23-HAMMER UNIONS | 18.56 | 3
HU4X100-M | HAMMER UNION MALE SUB 4" FIG 100 THRD | 23-HAMMER UNIONS | 4.646 | 2
ELL1/8-90-3MTHRDFS | ELL 1/8" 90 3000# THRD FS A105/SA105 | 24-FORGED FITTINGS | 0.924 | 770
UNION21/2-3MTHRDFS | UNION 2-1/2" 3000# THRD FS A105/SA105 | 24-FORGED FITTINGS | 17.216 | 354
PLUG11/2-3MTHRDSQFS | PLUG 1-1/2" 3000# THRD SQ SOLID HD FS A105/SA105 | 24-FORGED FITTINGS | 1.362 | 295
TEE3/4X1/2-3MREDTHRDFS | TEE 3/4" X 1/2" 3000# REDUCING THRD FS A105/SA105 | 24-FORGED FITTINGS | 2.18 | 241
CPLG3-6MTHRDHCFS | COUPLING 3" 6000# THRD HALF FS A105/SA105 | 24-FORGED FITTINGS | 14.73 | 219
TEE2X11/2-3MREDTHRDFS | TEE 2" X 1-1/2" 3000# REDUCING THRD FS A105/SA105 | 24-FORGED FITTINGS | 11.264 | 197
TEE3/4X1/2X1/2-3MREDTHRDFS | TEE 3/4" X 1/2" X 1/2" 3000# REDUCING THRD FS A105/SA105 | 24-FORGED FITTINGS | 2.104 | 190
TEE11/2X3/4-3MREDTHRDFS | TEE 1-1/2" X 3/4" 3000# REDUCING THRD FS A105/SA105 | 24-FORGED FITTINGS | 7.032 | 161
CPLG2X5-3MTHRDTOEFS | COUPLING 2" X 5" 3000# THRD T.O.E. FS A105/SA105 | 24-FORGED FITTINGS | 17.368 | 139
TEE1X3/4-3MREDTHRDFS | TEE 1" X 3/4" 3000# REDUCING THRD FS A105/SA105 | 24-FORGED FITTINGS | 4.608 | 107
ELL3/4-45-3MTHRDFS | ELL 3/4" 45 3000# THRD FS A105/SA105 | 24-FORGED FITTINGS | 1.6 | 103
TEE1/2X3/8-3MREDTHRDFS | TEE 1/2" X 3/8" 3000# REDUCING THRD FS A105/SA105 | 24-FORGED FITTINGS | 1.47 | 96
TEE1/8-3MTHRDFS | TEE 1/8" 3000# THRD FS A105/SA105 | 24-FORGED FITTINGS | 1.704 | 94
CROSS3/4-6MTHRDFS | CROSS 3/4" 6000# THRD FS A105/SA105 | 24-FORGED FITTINGS | 3.05 | 89
CPLG1-6MTHRDHCFS | COUPLING 1" 6000# THRD HALF FS A105/SA105 | 24-FORGED FITTINGS | 1.432 | 88
CPLG2X9-6MTHRDTOEFS | COUPLING 2" X 9" 6000# THRD T.O.E. FS A105/SA105 | 24-FORGED FITTINGS | 26.926 | 84
CPLG2X8-3MTHRDTOEFS | COUPLING 2" X 8" 3000# THRD T.O.E. FS A105/SA105 | 24-FORGED FITTINGS | 22.592 | 75
CPLG3/4X4-3MTHRDFS | COUPLING 3/4in NPT x 4in x 3000psi x SA-105 | 24-FORGED FITTINGS | 1.698 | 51
CPLG1X6-3MTHRDFS | COUPLING 1in NPT x 6in x 3000psi x SA-105 | 24-FORGED FITTINGS | 3.04 | 50
CPLG11/2-6MTHRDFCFS | COUPLING 1-1/2" 6000# THRD FULL FS A105/SA105 | 24-FORGED FITTINGS | 5.368 | 48
CPLG11/4X4-6MTHRDTOEFS | COUPLING 1-1/4" X 4" 6000# THRD T.O.E. FS A105/SA105 | 24-FORGED FITTINGS | 5.192 | 35
PLUG3/8-3MTHRDSQFS | PLUG 3/8" 3000# THRD SQ SOILID HD FS A105/SA105 | 24-FORGED FITTINGS | 0.288 | 25
CPLG3/4-6MTHRDHCFS | FORGE STEEL COUPLING ¾IN HALF 6000# THRD | 24-FORGED FITTINGS | 2.164 | 18
CPLG2X4-3MTHRDFS | COUPLING 2in NPT x 4in x 3000psi x SA-105 | 24-FORGED FITTINGS | 5.518 | 17
CPLG1X4-3MSWXTHRDFS | COUPLING 1" X 4" 3000# SW X THRD FS A105/SA105 | 24-FORGED FITTINGS | 1.488 | 13
CPLG3/4X4-6MTHRDFS | COUPLING 3/4in x 6000# x 4in SA-105 | 24-FORGED FITTINGS | 2.528 | 8
CPLG21/2X6-3MTHRDTOEFS | COUPLING 2-1/2" X 6" 3000# THRD T.O.E. FS A105/SA105 | 24-FORGED FITTINGS | 15.248 | 5
ELL1/2-45-3MTHRDFS | ELL 1/2" 45 3000# THRD FS A105/SA105 | 24-FORGED FITTINGS | 1.2 | 5
PLUG21/2-3MTHRDSQFS | PLUG2-1/2" 3000# THRD SQ SOLID HD FS A105/SA105 | 24-FORGED FITTINGS | 4.694 | 1
ELL1/2-45-3MSWFS | ELL 1/2" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 0.682 | 324
ELL3/4-45-3MSWFS | ELL 3/4" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 0.892 | 262
CAP2-3MSWFS | CAP 2" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 1.936 | 226
CAP3-3MSWFS | CAP 3" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 4.53 | 217
CAP1-3MSWFS | CAP 1" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 3.318 | 214
CPLG1/4-3MSWFCFS | COUPLING 1/4" 3000# SW FULL FS A105/SA105 | 25-SW FITTINGS | 0.46 | 187
UNION1/2-3MSWFS | UNION 1/2" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 1.842 | 147
ELL11/4-45-3MSWFS | ELL 1-1/4" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 2.07 | 138
CAP11/2-3MSWFS | CAP 1-1/2" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 8.01 | 128
ELL1/4-45-3MSWFS | ELL 1/4" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 0.612 | 120
CAP4-3MSWFS | CAP 4" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 1.612 | 119
TEE11/2X3/4-3MREDSWFS | TEE 1-1/2" X 3/4" 3000# REDUCING SW FS A105/SA105 | 25-SW FITTINGS | 3.454 | 101
ELL4-90-3MSWFS | ELL 4" 90 3000# SW FS A105/SA105 | 25-SW FITTINGS | 21.736 | 97
CPLG4-3MSWFCFS | COUPLING 4" 3000# SW FULL FS A105/SA105 | 25-SW FITTINGS | 6.146 | 94
ELL11/2-45-3MSWFS | ELL 1-1/2" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 2.45 | 80
UNION4-3MSWFS | UNION 4" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 35.494 | 76
ELL3/8-45-3MSWFS | ELL 3/8" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 0.652 | 70
UNION21/2-3MSWFS | UNION 2-1/2" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 10.838 | 70
CAP1/4-3MSWFS | CAP 1/4" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 0.484 | 65
ELL1/4-90-3MSWFS | ELL 1/4" 90 3000# SW FS A105/SA105 | 25-SW FITTINGS | 0.614 | 61
CAP21/2-3MSWFS | CAP 2-1/2" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 3.164 | 60
UNION11/4-3MSWFS | UNION 1-1/4" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 3.362 | 58
ELL21/2-45-3MSWFS | ELL 2-1/2" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 5.448 | 57
CAP11/4-3MSWFS | CAP 1-1/4" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 8.052 | 49
TEE2X1-3MREDSWFS | TEE 2" X 1" 3000# REDUCING SW FS A105/SA105 | 25-SW FITTINGS | 6.192 | 45
UNION3/8-3MSWFS | UNION 3/8" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 1.8 | 39
UNION1/4-3MSWFS | UNION 1/4" 3000# SW FS-A105/SA105 | 25-SW FITTINGS | 1.776 | 30
TEE11/2X1-3MREDSWFS | TEE 1-1/2" X 1" 3000# REDUCING SW FS A105/SA105 | 25-SW FITTINGS | 3.322 | 28
TEE11/2X1/2-3MREDSWFS | TEE 1-1/2" X 1/2" 3000# REDUCING SW FS A105/SA105 | 25-SW FITTINGS | 3.514 | 24
ELL4-45-3MSWFS | ELL 4" 45 3000# SW FS A105/SA105 | 25-SW FITTINGS | 21.652 | 10
TEE11/4-3MSWFS | TEE 1-1/4" 3000# SW FS A105/SA105 | 25-SW FITTINGS | 2.618 | 10
TEE2X3/4-3MREDSWFS | TEE 2" X 3/4" 3000# REDUCING SW FS A105/SA105 | 25-SW FITTINGS | 11.844 | 8
ELL2-90-6MSWFS | ELL 2" 90 6000# SW FS A105/SA105 | 25-SW FITTINGS | 11.518 | 6
BP21/2XXH1/2T | BULL PLUG 2.1/2IN NPT XXH 1/2IN TAP | 26-BULL PLUGS | 13.358 | 479
BP.375XH | BULL PLUG 3/8IN NPT XH | 26-BULL PLUGS | 0.766 | 400
BP11/4XH | BULL PLUG 1.1/4IN NPT XH | 26-BULL PLUGS | 2.88 | 387
BP1.50STD | BULL PLUG 1.1/2IN NPT STD | 26-BULL PLUGS | 2.036 | 198
BP1.25STD | BULL PLUG 1.1/4IN NPT STD | 26-BULL PLUGS | 1.676 | 159
BP.75STD | BULL PLUG 3/4IN NPT STD | 26-BULL PLUGS | 0.766 | 154
BP.125XH | BULL PLUG 1/8IN NPT XH | 26-BULL PLUGS | 1.138 | 146
OCBP3STD.5T | 3IN UP 8R STD J55 BULL PLUG WITH 1/2IN TAP | 26-BULL PLUGS | 19.172 | 34
OCBP2STD.5T | 2IN UP 8R STD J55 BULL PLUG WITH 1/2IN TAP | 26-BULL PLUGS | 9.076 | 17
BP5XH | BULL PLUG 5IN NPT XH | 26-BULL PLUGS | 27.454 | 10
NPL11/4X10XHCS | NIPPLE 1-1/4" X 10" XH SEAMLESS CS | 27-NIPPLES | 3.952 | 283
NPL11/4X12XHCS | NIPPLE 1-1/4" X 12" XH SEAMLESS CS | 27-NIPPLES | 4.568 | 223
NPL2X5S/160CS | NIPPLE PIPE S160 2 X 5 SA106B | 27-NIPPLES | 5.156 | 70
NPL2XCLS/160CS | NIPPLE 2" X CL S/160 SEAMLESS CS | 27-NIPPLES | 3.42 | 37
NPL4X4S/160CS | NIPPLE 4" X 4" S/160 SEAMLESS CS | 27-NIPPLES | 20.264 | 23
NPL2X9S/160CS | 2x9 SCH160 seamless steel nipples | 27-NIPPLES | 6.836 | 20
SN3X2SCH160 | CHO NIPPLE: SWAGE SCH 160 3" X 2" THREAD BOTH ENDS PER ANSI B2.1 SA-106B | 28-SWAGE NIPPLES | 21.456 | 145
SN1X.25XH | SWAGE 1" X 1/4" NPT XH | 28-SWAGE NIPPLES | 5.026 | 125
SN.25X.125XH | SWAGE 1/4" x 1/8" XH | 28-SWAGE NIPPLES | 2.804 | 123
OCSN3UX21/2VSTD | SWAGE NIPPLE 3" UP-8R X 2-1/2" LP STD J55 | 28-SWAGE NIPPLES | 15.912 | 109
SN21/2X11/2STD | SWAGE 2 1/2" X 1 1/2" NPT STD | 28-SWAGE NIPPLES | 12.238 | 71
SN11/4X1/2STD | SWAGE 1 1/4" X 1/2" NPT STD | 28-SWAGE NIPPLES | 6.088 | 70
SN1.0X.50XH | SWAGE 1" X 1/2" NPT XH | 28-SWAGE NIPPLES | 4.37 | 62
SN1X1/8STD | SWAGE 1" X 1/8" NPT STD | 28-SWAGE NIPPLES | 3.848 | 60
SN8X5STD | SWAGE 8" X 5" NPT STD | 28-SWAGE NIPPLES | 166.388 | 47
OCSN41/2ODX3VXH | SWAGE NIPPLE 4-1/2' OD-8R X 3" LP XH J55 | 28-SWAGE NIPPLES | 31.484 | 45
SN3/4X1/8XH | SWAGE 3/4" x 1/8" HEX XH | 28-SWAGE NIPPLES | 2.654 | 43
SN3X1/2STD | SWAGE 3" X 1/2" NPT STD | 28-SWAGE NIPPLES | 15.612 | 43
OCSN51/2ODX3VSTD | SWAGE NIPPLE 5-1/2" OD-8R X 3" LP STD J55 | 28-SWAGE NIPPLES | 50.372 | 33
SN3/8X1/8XH | SWAGE 3/8" x 1/8" HEX XH | 28-SWAGE NIPPLES | 1.628 | 31
OCSN51/2ODX3VXH | SWAGE NIPPLE 5-1/2" OD-8R X 3" LP XH J55 | 28-SWAGE NIPPLES | 55.096 | 30
OCSN51/2ODX41/2ODXH | SWAGE NIPPLE 5-1/2" OD-8R X 4-1/2" OD-8R XH J55 | 28-SWAGE NIPPLES | 54.32 | 28
OCSN21/2UX21/2VXXH | SWAGE NIPPLE 2-1/2" UP-8R X 2-1/2" LP XXH J55 | 28-SWAGE NIPPLES | 28.748 | 24
OCSN3U21/2USTD | SWAGE NIPPLE 3" UP-8R X 2-1/2" UP-8R STD J55 | 28-SWAGE NIPPLES | 19.402 | 9
SN8X5XH | SWAGE 8" X 5" NPT XH | 28-SWAGE NIPPLES | 188.54 | 8
SN8X3XH | SWAGE 8" X 3" NPT XH | 28-SWAGE NIPPLES | 182.778 | 5
SN2X1XHSS | SWAGE 2" X 1" NPT XH 316 SS | 28-SWAGE NIPPLES | 71.548 | 1
SSTS304.375.035-300 | TUBING 3/8" X 300' X .035 SS 304 SEAMLESS COIL | 29-SS TUBES AND COILS | 1.48 | 35400
SSTW316.25.035-300 | TUBING 1/4" X 300' X .035 SS 316 WELDED COIL | 29-SS TUBES AND COILS | 0.43 | 4200
SSTS316.50.035-300 | TUBING 1/2" X 300' X .035 SS 316 SEAMLESS COIL | 29-SS TUBES AND COILS | 2.168 | 3900
SCBOLT11 | SLEEVE COUPLING 7" BOLT | 31-SLEEVE COUPLING | 1.7 | 288
SCBOLT19 | SLEEVE COUPLING 16" BOLT | 31-SLEEVE COUPLING | 7.384 | 77
SCBOLT17 | SLEEVE COUPLING 14" BOLT | 31-SLEEVE COUPLING | 2.782 | 66
SCBOLT27 | SLEEVE COUPLING 24" BOLT | 31-SLEEVE COUPLING | 4.354 | 40
SC2X14 | SLEEVE COUPLING 2" x 14" EPOXY COATED | 31-SLEEVE COUPLING | 21.63 | 18
SC12X16 | SLEEVE COUPLING 12" x 16" EPOXY COATED | 31-SLEEVE COUPLING | 187.938 | 3
PVRK1-1502-SEAL | Plug Valve Repair Kit 1" x 2" 1502 (Seal Kit) | 32-RED IRON | 2.8 | 81
CV3/4-1502-SEAT | Choke Seat 2" x 3/4" 1502 Carbide | 32-RED IRON | 53.23 | 34
PVRK3-1502-SEAL | Plug Valve Repair Kit 3" X 3" 1502 (Seal Kit) | 32-RED IRON | 12.71 | 26
PVRK2-1502-SEAL | Plug Valve Repair Kit 2" x 2" 1502 (Seal Kit) | 32-RED IRON | 15.588 | 4
ELL2-90-1502IN | Elbow 2" 90 1502 MxF Integral | 32-RED IRON | 92.512 | 3
BJ3-1502-F | 3in Integral Union Blast Joint 1502 std service (17") F-Type | 32-RED IRON | 154.62 | 2
CAP3F-1502 | Cap Female 3" 1502 | 32-RED IRON | 60.524 | 2
HU3X1502-NUT | HAMMER UNION NUT 3” 1502 THRD | 32-RED IRON | 16.236 | 2
CV1-1502-SEAT | Choke Seat 2" x 1" 1502 Carbide | 32-RED IRON | 78.782 | 1
CV2-1502-SAVE | Choke Valve Save 2" 1502 Integral | 32-RED IRON | 53.82 | 1
NPL3X9XXHCS | NIPPLE 3" X 9" XXH SEAMLESS CS | 34-HEAVY NIPPLES | 32.642 | 78
NPL1X11XXHCS | NIPPLE 1" X 11" XXH SEAMLESS CS | 34-HEAVY NIPPLES | 6.452 | 29
NPL1X5XXHCS | NIPPLE 1" X 5" XXH SEAMLESS CS | 34-HEAVY NIPPLES | 3.678 | 28
NPL4X5XXHCS | NIPPLE 4" X 5" XXH SEAMLESS CS | 34-HEAVY NIPPLES | 27.826 | 24
NPL1X7XXHCS | NIPPLE 1" X 7" XXH SEAMLESS CS | 34-HEAVY NIPPLES | 4.192 | 10
BUSH11/2X3/8-150-THRDMI | BUSHING 1-1/2" X 3/8" 150# THRD MI | 35-Malleable Fittings | 1.224 | 176
BELLRED3/4X1/8-150-THRDMI | BELL REDUCER 3/4” X 1/8” 150# THRD MI | 35-Malleable Fittings | 0.482 | 127
BELLRED21/2X11/2-150-THRDMI | BELL REDUCER 2-1/2” X 1-1/2” 150# THRD MI | 35-Malleable Fittings | 3.732 | 101
BUSH3X11/4-150-THRDMI | BUSHING 3" X 1-1/4" 150# THRD MI | 35-Malleable Fittings | 5.382 | 94
BELLRED3X11/2-150-THRDMI | BELL REDUCER 3” X 1-1/2” 150# THRD MI | 35-Malleable Fittings | 5.442 | 92
BELLRED21/2X1-150-THRDMI | BELL REDUCER 2-1/2” X 1” 150# THRD MI | 35-Malleable Fittings | 0.252 | 76
BELLRED21/2X3/4-150-THRDMI | BELL REDUCER 2-1/2” X 3/4” 150# THRD MI | 35-Malleable Fittings | 0.25 | 69
BELLRED3X11/4-150-THRDMI | BELL REDUCER 3” X 1-1/4” 150# THRD MI | 35-Malleable Fittings | 5.882 | 57
BELLRED21/2X11/4-150-THRDMI | BELL REDUCER 2-1/2” X 1-1/4” 150# THRD MI | 35-Malleable Fittings | 3.766 | 55
CROSS11/4-150-THRDMI | CROSS 1-1/4" 150# THRD MI | 35-Malleable Fittings | 2.994 | 42
BELLRED11/4X1/2-150-THRDMI | BELL REDUCER 1-1/4” X 1/2” THRD MI | 35-Malleable Fittings | 1.024 | 24
STELL1/4-45-150-THRDMI | STREET ELL 1/4" 45 150# THRD MI | 35-Malleable Fittings | 0.672 | 23
BELLRED1X3/8-150-THRDMI | BELL REDUCER 1 X 3/8” 150# THRD MI | 35-Malleable Fittings | 0.696 | 11
STELL1/2-45-150-THRDMI | STREET ELL 1/2" 45 150# THRD MI | 35-Malleable Fittings | 0.692 | 5
FN8-F | FRAC NUT 8" Forged | 36-FRAC FITTINGS | 98.686 | 488
FN6-F | - None - | 36-FRAC FITTINGS | 64.996 | 250
FHSWS5 | Union, 5” Sub, Weld On Socket | 36-FRAC FITTINGS | 34.892 | 155
FHSN5 | Union, 5” Nut for frac hose fitting | 36-FRAC FITTINGS | 32.464 | 60
FHSF5 | Union, 5” Female stem for frac hose fitting | 36-FRAC FITTINGS | 23.738 | 10
FHSM5 | Union, 5” male stem for frac hose fitting | 36-FRAC FITTINGS | 29.8 | 10
FU4X206B | FRAC UNION 4” FIG. 206 2000# 1 PC BARBED | 36-FRAC FITTINGS | 122.876 | 10
4000GL60HLEVER | GATE VALVE 6” LEVER | 39-BRASS VALVES | 8.268 | 44
4000GL30HLEVER | GATE VALVE 3” LEVER | 39-BRASS VALVES | 8.266 | 31
4000GL20HLEVER | GATE VALVE 2” LEVER | 39-BRASS VALVES | 3.802 | 13
TH3008PG | VITON GASKETS FOR 8" ROUND THIEF HATCH - (Pessure & Vacuum) - TH3008 | 40-THIEF HATCH | 0.684 | 1272
TH2008-PLUNGER | PLUNGER ASSEMBLY FOR TH2008 | 40-THIEF HATCH | 13.976 | 215
TH2008-KIT2 | REPLACEMENT PART FOR TH2008 W/TEFLON AND ALUM GASKET RED ANODIZED | 40-THIEF HATCH | 10.948 | 103
THSP16 | THIEF HATCH SPRING 16 Oz SS WHITE | 40-THIEF HATCH | 2.626 | 59
TH5008G | THIEF HATCH GASKET SET, VITON ENVELOPE GASKET/VITON VACUUM GASKET | 40-THIEF HATCH | 8.678 | 55
THG3008 | THIEF HATCH FLANGE GASKET 8" VITON | 40-THIEF HATCH | 8.822 | 18
PJ31/2X6N80 | PUP JOINT 3 1/2" X 6' EUE PIN x PIN N80 | 43-EUE PUP JOINTS | 123.546 | 39
PJ31/2X2J55-PERF | PUP JOINT 3-1/2" X 2' EUE PIN x PIN J55 - PERFORATED | 43-EUE PUP JOINTS | 53.556 | 15
PJ31/2X4J55-PERF | PUP JOINT 3-1/2" X 4' EUE PIN x PIN J55 - PERFORATED | 43-EUE PUP JOINTS | 113.262 | 15
PJ31/2X10N80 | PUP JOINT 3 1/2" X 10' EUE PIN x PIN N80 | 43-EUE PUP JOINTS | 458.084 | 12
PJ31/2X3N80 | PUP JOINT 3 1/2" X 3' EUE PIN x PIN N80 | 43-EUE PUP JOINTS | 120.766 | 10
PJ31/2X3J55-PERF | PUP JOINT 3-1/2" X 3' EUE PIN x PIN J55 - PERFORATED | 43-EUE PUP JOINTS | 113.17 | 9
PJ31/2X8N80 | PUP JOINT 3 1/2" X 8' EUE PIN x PIN N80 | 43-EUE PUP JOINTS | 382.99 | 9
PJ31/2X3J55 | PUP JOINT 3 1/2" X 3' EUE PIN x PIN J55 | 43-EUE PUP JOINTS | 100.986 | 5
CPLGTBG31/2-N80 | COUPLING TUBING 3 1/2" N80 | 43-EUE PUP JOINTS | 23.586 | 1
NPL2X7STD304L | NIPPLE 2" X 7" STD 304L | 47-SS 304L STD Nipples | 3.614 | 674
NPL2X5STD304L | NIPPLE 2" X 5" STD 304L | 47-SS 304L STD Nipples | 2.726 | 643
NPL2X31/2STD304L | NIPPLE 2" X 3-1/2" STD 304L | 47-SS 304L STD Nipples | 2.166 | 598
NPL1X41/2STD304L | NIPPLE 1" X 4-1/2" STD 304L | 47-SS 304L STD Nipples | 1.192 | 425
NPL2X11STD304L | NIPPLE 2" X 11" STD 304L | 47-SS 304L STD Nipples | 5.418 | 321
NPL2X9STD304L | NIPPLE 2" X 9" STD 304L | 47-SS 304L STD Nipples | 3.186 | 317
NPL1X5STD304L | NIPPLE 1" X 5" STD 304L | 47-SS 304L STD Nipples | 1.312 | 316
NPL1X21/2STD304L | NIPPLE 1" X 2-1/2" STD 304L | 47-SS 304L STD Nipples | 0.758 | 263
NPL1/2X12STD304L | NIPPLE 1/2" X 12" STD 304L | 47-SS 304L STD Nipples | 1.746 | 214
NPL3X5STD304L | NIPPLE 3" X 5" STD 304L | 47-SS 304L STD Nipples | 5.404 | 206
NPL1/2X51/2STD304L | NIPPLE 1/2" X 5-1/2" STD 304L | 47-SS 304L STD Nipples | 0.902 | 203
NPL1X7STD304L | NIPPLE 1" X 7" STD 304L | 47-SS 304L STD Nipples | 1.738 | 202
NPL1/2X10STD304L | NIPPLE 1/2" X 10" STD 304L | 47-SS 304L STD Nipples | 1.482 | 185
NPL3/4X41/2STD304L | NIPPLE 3/4" X 4-1/2" STD 304L | 47-SS 304L STD Nipples | 0.962 | 181
NPL1X9STD304L | NIPPLE 1" X 9" STD 304L | 47-SS 304L STD Nipples | 2.18 | 178
NPL1/2X8STD304L | NIPPLE 1/2" X 8" STD 304L | 47-SS 304L STD Nipples | 1.226 | 157
NPL1/2X5STD304L | NIPPLE 1/2" X 5" STD 304L | 47-SS 304L STD Nipples | 0.826 | 150
NPL1/4X7STD304L | NIPPLE 1/4" X 7" STD 304L | 47-SS 304L STD Nipples | 0.672 | 115
NPL1/4X9STD304L | NIPPLE 1/4" X 9" STD 304L | 47-SS 304L STD Nipples | 0.818 | 114
NPL3/4X7STD304L | NIPPLE 3/4" X 7" STD 304L | 47-SS 304L STD Nipples | 1.406 | 101
NPL1/4X5STD304L | NIPPLE 1/4" X 5" STD 304L | 47-SS 304L STD Nipples | 0.52 | 100
NPL3/4X10STD304L | NIPPLE 3/4" X 10" STD 304L | 47-SS 304L STD Nipples | 1.91 | 98
NPL1/2X7STD304L | NIPPLE 1/2" X 7" STD 304L | 47-SS 304L STD Nipples | 1.098 | 87
NPL3/4X9STD304L | NIPPLE 3/4" X 9" STD 304L | 47-SS 304L STD Nipples | 1.746 | 86
NPL1/2X11STD304L | NIPPLE 1/2" X 11" STD 304L | 47-SS 304L STD Nipples | 1.626 | 81
NPL1/2X9STD304L | NIPPLE 1/2" X 9" STD 304L | 47-SS 304L STD Nipples | 1.354 | 76
NPL1/8X6STD304L | NIPPLE 1/8" X 6" STD 304L | 47-SS 304L STD Nipples | 0.468 | 72
NPL3/8X51/2STD304L | NIPPLE 3/8" X 5-1/2" STD 304L | 47-SS 304L STD Nipples | 0.74 | 70
NPL3/8X11/2STD304L | NIPPLE 3/8" X 1-1/2" STD 304L | 47-SS 304L STD Nipples | 0.314 | 66
NPL1/4X31/2STD304L | NIPPLE 1/4" X 3-1/2" STD 304L | 47-SS 304L STD Nipples | 0.418 | 61
NPL3/8X10STD304L | NIPPLE 3/8" X 10" STD 304L | 47-SS 304L STD Nipples | 1.218 | 43
NPL3/8X9STD304L | NIPPLE 3/8" X 9" STD 304L | 47-SS 304L STD Nipples | 1.116 | 43
NPL3/8X5STD304L | NIPPLE 3/8" X 5" STD 304L | 47-SS 304L STD Nipples | 0.698 | 42
NPL3X3STD304L | NIPPLE 3" X 3" STD 304L | 47-SS 304L STD Nipples | 3.466 | 37
NPL3/8X31/2STD304L | NIPPLE 3/8" X 3-1/2" STD 304L | 47-SS 304L STD Nipples | 0.758 | 31
NPL3/8X41/2STD304L | NIPPLE 3/8" X 4-1/2" STD 304L | 47-SS 304L STD Nipples | 0.638 | 31
NPL21/2X4STD304L | NIPPLE 2-1/2" X 4" STD 304L | 47-SS 304L STD Nipples | 3.202 | 30
NPL1/4X41/2STD304L | NIPPLE 1/4" X 4-1/2" STD 304L | 47-SS 304L STD Nipples | 0.486 | 24
NPL1/2X6STD304L | NIPPLE 1/2" X 6" STD 304L | 47-SS 304L STD Nipples | 0.942 | 23
NPL1/8X41/2STD304L | NIPPLE 1/8" X 4-1/2" STD 304L | 47-SS 304L STD Nipples | 0.392 | 23
NPL21/2X5STD304L | NIPPLE 2-1/2" X 5" STD 304L | 47-SS 304L STD Nipples | 3.808 | 23
NPL3/8X7STD304L | NIPPLE 3/8" X 7" STD 304L | 47-SS 304L STD Nipples | 0.902 | 23
NPL1/8X10STD304L | NIPPLE 1/8" X 10" STD 304L | 47-SS 304L STD Nipples | 0.682 | 22
NPL1/8X3STD304L | NIPPLE 1/8" X 3" STD 304L | 47-SS 304L STD Nipples | 0.306 | 22
NPL1/8X7STD304L | NIPPLE 1/8" X 7" STD 304L | 47-SS 304L STD Nipples | 0.52 | 22
NPL21/2X12STD304L | NIPPLE 2-1/2" X 12" STD 304L | 47-SS 304L STD Nipples | 7.938 | 22
NPL1/8X5STD304L | NIPPLE 1/8" X 5" STD 304L | 47-SS 304L STD Nipples | 0.44 | 20
NPL21/2X3STD304L | NIPPLE 2-1/2" X 3" STD 304L | 47-SS 304L STD Nipples | 2.572 | 17
NPL1/4X51/2STD304L | NIPPLE 1/4" X 5-1/2" STD 304L | 47-SS 304L STD Nipples | 0.562 | 16
NPL3/8X12STD304L | NIPPLE 3/8" X 12" STD 304L | 47-SS 304L STD Nipples | 1.43 | 14
NPL1/8X21/2STD304L | NIPPLE 1/8" X 2-1/2" STD 304L | 47-SS 304L STD Nipples | 0.272 | 13
NPL1/8X8STD304L | NIPPLE 1/8" X 8" STD 304L | 47-SS 304L STD Nipples | 0.58 | 13
NPL11/4X5STD304L | NIPPLE 1-1/4" X 5" STD 304L | 47-SS 304L STD Nipples | 1.686 | 10
NPL11/4X6STD304L | NIPPLE 1-1/4" X 6" STD 304L | 47-SS 304L STD Nipples | 1.958 | 10
NPL1/8X2STD304L | NIPPLE 1/8" X 2" STD 304L | 47-SS 304L STD Nipples | 0.256 | 9
NPL11/4X4STD304L | NIPPLE 1-1/4" X 4" STD 304L | 47-SS 304L STD Nipples | 1.406 | 9
NPL11/4X8STD304L | NIPPLE 1-1/4" X 8" STD 304L | 47-SS 304L STD Nipples | 2.522 | 8
NPL3/8X21/2STD304L | NIPPLE 3/8" X 2-1/2" STD 304L | 47-SS 304L STD Nipples | 0.426 | 7
NPL11/4X3STD304L | NIPPLE 1-1/4" X 3" STD 304L | 47-SS 304L STD Nipples | 0.944 | 5
NPL3/4X31/2STD304L | NIPPLE 3/4" X 3-1/2" STD 304L | 47-SS 304L STD Nipples | 0.792 | 5
NPL11/4X10STD304L | NIPPLE 1-1/4" X 10" STD 304L | 47-SS 304L STD Nipples | 3.1 | 3
NPL11/4X2STD304L | NIPPLE 1-1/4" X 2" STD 304L | 47-SS 304L STD Nipples | 0.776 | 3
NPL3/4X5STD304L | NIPPLE 3/4" X 5" STD 304L | 47-SS 304L STD Nipples | 1.048 | 2
NPL11/4X21/2STD304L | NIPPLE 1-1/4" X 2-1/2" STD 304L | 47-SS 304L STD Nipples | 0.972 | 1
CAP11/4-150-THRD-304L-SS | CAP 1-1/4" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 1.754 | 46
BUSH11/2X3/8-150-THRD-304L-SS | BUSHING 1-1/2" X 3/8" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 1.802 | 25
BUSH3X1-150-THRD-304L-SS | BUSHING 3" X 1" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 8.454 | 23
ELL1/8-90-150-THRD-304L-SS | ELL 1/8" 90 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 0.36 | 20
PLUG11/4-150-THRDSQHD-304L-SS | PLUG 1-1/4" 150# THRD SQ HD 304L SS | 48-SS 304L Pipe Fittings | 1.242 | 20
UNION3-150-GJTHRD-304L-SS | UNION 3" 150# GJ THRD 304L SS | 48-SS 304L Pipe Fittings | 16.92 | 10
TEE21/2-150-THRD-304L-SS | TEE 2-1/2" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 14.178 | 6
ELL21/2-45-150-THRD-304L-SS | ELL 2-1/2" 45 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 7.654 | 5
BUSH11/2X1/4-150-THRD-304L-SS | BUSHING 1-1/2" X 1/4" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 2.17 | 4
BUSH11/4X3/8-150-THRD-304L-SS | BUSHING 1-1/4" X 3/8" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 1.25 | 3
ELL3-45-150-THRD-304L-SS | ELL 3" 45 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 11.666 | 3
TEE1/8-150-THRD-304L-SS | TEE 1/8" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 0.458 | 2
BUSH1X1/8-150-THRD-304L-SS | BUSHING 1" X 1/8" 150# THRD 304L SS | 48-SS 304L Pipe Fittings | 0.872 | 1
PLUG3/4-150-THRDSQHD-304L-SS | PLUG 3/4" 150# THRD SQ HD 304L SS | 48-SS 304L Pipe Fittings | 0.476 | 1
GVCFECH04 | GATE VALVE 4” 600# FLANGED END-CAST STEEL WCB HWO | 49-Cast Steel Gate Valves | 321.398 | 4
SOL11/2X36-6-3MSWFS | SOCKETWELD OUTLET 1-1/2" X (6"- 36") 3000# SW FS A105 | 54-Outlets | 2.144 | 135
TOL11/4X11/2-11/4-3MTHRDFS | THREADED OUTLET 1-1/4" X (1-1/4"-2-1/2") 3000# THRD FS A105 | 54-Outlets | 2.144 | 94
TOL3/8X36-3/4-3MTHRDFS | THREADED OUTLET 3/8" X (3/4"-36") 3000# THRD FS A105 | 54-Outlets | 0.906 | 82
TOL21/2X8-6-3MTHRDFS | THREADED OUTLET 2-1/2" X (6"-8") 3000# THRD FS A105 | 54-Outlets | 5.552 | 71
SOL2X6-4-3MSWFS | SOCKETWELD OUTLET 2" X (4"- 6") 3000# SW FS A105 | 54-Outlets | 3.492 | 66
SOL3/8X36-3/4-3MSWFS | SOCKETWELD OUTLET 3/8" X (3/4"- 36") 3000# SW FS A105 | 54-Outlets | 0.694 | 52
SOL1/4X36-1/2-3MSWFS | SOCKETWELD OUTLET 1/4" X (1/2"- 36") 3000# SW FS A105 | 54-Outlets | 0.688 | 50
SOL11/2X21/2-2-3MSWFS | SOCKETWELD OUTLET 1-1/2" X (2"- 2-1/2") 3000# SW FS A105 | 54-Outlets | 2.07 | 50
SOL21/2X8-6-3MSWFS | SOCKETWELD OUTLET 2-1/2" X (6"- 8") 3000# SW FS A105 | 54-Outlets | 4.138 | 50
SOL3X4-31/2-3MSWFS | SOCKETWELD OUTLET 3" X (3-1/2"- 4") 3000# SW FS A105 | 54-Outlets | 5.572 | 50
SOL3X6-5-3MSWFS | SOCKETWELD OUTLET 3" X (5"- 6") 3000# SW FS A105 | 54-Outlets | 5.572 | 46
SOL11/4X11/2-11/4-3MSWFS | SOCKETWELD OUTLET 1-1/4" X (1-1/4"-1-1/2") 3000# SW FS A105 | 54-Outlets | 1.634 | 44
TOL11/4X36-4-3MTHRDFS | THREADED OUTLET 1-1/4" X (4"-36") 3000# THRD FS A105 | 54-Outlets | 2.082 | 43
TOL4X6-3MTHRDFS | THREADED OUTLET 4" X 6" 3000# THRD FS A105 | 54-Outlets | 11.298 | 39
SOL21/2X5-4-3MSWFS | SOCKETWELD OUTLET 2-1/2" X (4"- 5") 3000# SW FS A105 | 54-Outlets | 4.16 | 35
SOL11/2X5-3-6MSWFS | SOCKETWELD OUTLET 1-1/2" X (3"- 5") 6000# SW FS A105 | 54-Outlets | 3.776 | 28
TOL4X36-20-3MTHRDFS | THREADED OUTLET 4" X (20"-36") 3000# THRD FS A105 | 54-Outlets | 10.99 | 17
TOL21/2X31/2-3-3MTHRDFS | THREADED OUTLET 2-1/2" X (3"-3-1/2") 3000# THRD FS A105 | 54-Outlets | 5.524 | 15
TOL21/2X36-10-3MTHRDFS | THREADED OUTLET 2-1/2" X (10"-36") 3000# THRD FS A105 | 54-Outlets | 5.524 | 15
TOL21/2X5-4-3MTHRDFS | THREADED OUTLET 2-1/2" X (4"-5") 3000# THRD FS A105 | 54-Outlets | 5.524 | 15
TOL3X36-16-3MTHRDFS | THREADED OUTLET 3" X (16"-36") 3000# THRD FS A105 | 54-Outlets | 7.478 | 14
SOL4X5-3MSWFS | SOCKETWELD OUTLET 4" X 5" 3000# SW FS A105 | 54-Outlets | 8.508 | 10
SOL2X6-4-6MSWFS | SOCKETWELD OUTLET 2" X (4"- 6") 6000# SW FS A105 | 54-Outlets | 7.814 | 8
SOL3X14-8-3MSWFS | SOCKETWELD OUTLET 3" X (8"-14") 3000# SW FS A105 | 54-Outlets | 5.77 | 8
SOL21/2X36-10-3MSWFS | SOCKETWELD OUTLET 2-1/2" X (10"- 36") 3000# SW FS A105 | 54-Outlets | 4.29 | 7
SOL2X36-8-6MSWFS | SOCKETWELD OUTLET 2" X (8"-36") 6000# SW FS A105 | 54-Outlets | 6.946 | 7
SOL3X36-16-3MSWFS | SOCKETWELD OUTLET 3" X (16"- 36") 3000# SW FS A105 | 54-Outlets | 5.752 | 5
SOL4X6-3MSWFS | SOCKETWELD OUTLET 4" X 6" 3000# SW FS A105 | 54-Outlets | 8.508 | 5
SOL4X18-12-3MSWFS | SOCKETWELD OUTLET 4" X (12"- 18") 3000# SW FS A105 | 54-Outlets | 8.508 | 4
SOL4X36-20-3MSWFS | SOCKETWELD OUTLET 4" X (20"- 36") 3000# SW FS A105 | 54-Outlets | 8.508 | 4
SOL21/2X31/2-3-3MSWFS | SOCKETWELD OUTLET 2-1/2" X (3"- 3-1/2") 3000# SW FS A105 | 54-Outlets | 4.354 | 3
TOL3X6-5-3MTHRDFS | THREADED OUTLET 3" X (5"-6") 3000# THRD FS A105 | 54-Outlets | 7.476 | 1
TOL4X18-12-3MTHRDFS | THREADED OUTLET 4" X (12"-18") 3000# THRD FS A105 | 54-Outlets | 10.988 | 1
RC21/2X3 | REPAIR CLAMP 2-1/2" X 3" 2 BOLT HALF CIRCLE | 58-REPAIR CLAMPS | 3.362 | 106
RC11/4X3 | REPAIR CLAMP 1-1/4" X 3" 2 BOLT HALF CIRCLE | 58-REPAIR CLAMPS | 1.956 | 14
RC21/2X12 | REPAIR CLAMP 2-1/2" X 12" 2 BOLT HALF CIRCLE | 58-REPAIR CLAMPS | 14.602 | 2
RC11/2X3 | REPAIR CLAMP 1-1/2" X 3" 2 BOLT HALF CIRCLE | 58-REPAIR CLAMPS | 2.83 | 1
B7SWNBK7/8x11-SC | ASSEMBLY OF STUD 7/8" X 11" W/ NUTS BLACK-B7 | 615-Miscellaneous | 8.456 | 7